## Sheet1
OE-417 Electric Emergency and Disturbance (OE-417) Events, 20121
Date Event Began | Time Event Began | Date of Restoration | Time of Restoration | Area Affected | NERC Region | Event Type | Demand Loss (MW) | Number of Customers Affected
January
2012-01-04 | 12:14 | 2012-01-04 | 12:14 | Tacoma, Washington | WECC | Suspected physical attack | N/A | N/A
2012-01-05 | 10:35 | 2012-01-05 | 12:25 | CSWS/AEP West territory, Oklahoma | SPP | Sabotage | 0 | 0
2012-01-05 | 10:28 | 2012-01-05 | 12:25 | Creek County, Oklahoma | SPP | Suspected physical attack | N/A | N/A
2012-01-09 | 14:30 | 2012-01-09 | 15:30 | Watertown, Connecticut | NPCC | Vandalism | N/A | N/A
2012-01-09 | 13:36 | 2012-01-11 | 1:05 | Louisiana | SERC | Load Shed | 150 | 1
2012-01-10 | 21:30 | 2012-01-10 | 21:30 | Rusk County, Texas | TRE | Load Shed | N/A | N/A
2012-01-11 | 7:19 | 2012-01-11 | 9:07 | Nevada | WECC | Suspected Physical Attack | 0 | 0
2012-01-12 | 8:26 | 2012-01-12 | 8:26 | Newark, Delaware | RFC | Physical Attack | 0 | 0
2012-01-13 | 9:20 | 2012-01-13 | 9:20 | Newark, Delaware | RFC | Physical Attack | 0 | 0
2012-01-15 | 9:35 | 2012-01-15 | 9:35 | Tacoma, Washington | WECC | Vandalism | N/A | N/A
2012-01-17 | 10:31 | 2012-01-17 | 17:21 | Austin, Texas | TRE | Suspected Cyber Attack | N/A | 0
2012-01-19 | 7:00 | 2012-01-20 | 15:00 | King, Pierce and Thurston Counties, Washington | WECC | Severe Weather - Winter Storm | 1600 | 426000
2012-01-24 | 11:22 | 2012-01-24 | 11:22 | Tacoma, Washington | WECC | Vandalism | N/A | N/A
2012-01-27 | 9:40 | 2012-01-27 | 9:40 | Frederickson Substation, Spanaway, Washington | WECC | Vandalism | N/A | N/A
2012-01-29 | 12:45 | 2012-01-29 | 12:45 | Roosevelt Substation, Tacoma, Washington | WECC | Vandalism | N/A | N/A
February
2012-02-11 | 8:47 | 2012-02-11 | 10:30 | Lamar, Colorado | WECC | Suspected Physical Attack | 0 | 0
2012-02-11 | 8:55 | 2012-02-11 | 8:55 | Tacoma, Washington | WECC | Suspected Physical Attack | N/A | N/A
2012-02-13 | 7:02 | 2012-02-13 | 16:25 | Asheville, North Carolina | SERC | Suspected Physical Attack | N/A | N/A
2012-02-14 | 19:20 | 2012-02-15 | 16:00 | Tacoma, Washington | WECC | Suspected Physical Attack | N/A | N/A
2012-02-15 | 5:33 | 2012-02-15 | 17:30 | Port Orchard, Washington | WECC | Suspected Physical Attack | 0 | 0
2012-02-17 | 3:00 | 2012-02-17 | 11:33 | Little Rock, Arkansas | SERC | Suspected Cyber Attack | UNK | UNK
2012-02-19 | 17:00 | 2012-02-21 | 7:33 | Kentucky, Virginia, West Virginia | SERC | Severe Weather - Winter Storm | UNK | 90000
2012-02-23 | 5:45 | 2012-02-23 | 15:02 | South East College Station, Texas | TRE | Suspected Physical Attack | 0 | 0
2012-02-23 | 23:12 | 2012-02-24 | 1:00 | Londonderry, New Hampshire | NPCC | Suspected Physical Attack | 0 | 0
2012-02-24 | 11:24 | 2012-02-24 | 11:49 | Spanaway, Washington | WECC | Suspected Physical Attack | N/A | N/A
2012-02-28 | 2:59 | 2012-02-28 | 6:12 | Sacramento, California | WECC | Electrical System Separation (Islanding) | 1 | 1
2012-02-28 | 7:00 | 2012-02-28 | 7:00 | Coos County Oregon | WECC | Suspected Physical Attack | UNK | UNK
Date Event Began | Time Event Began | Date of Restoration | Time of Restoration | Area Affected | NERC Region | Event Type | Demand Loss (MW) | Number of Customers Affected
March
2012-03-02 | 12:37 | 2012-03-05 | 12:01 | Northern Alabama; Southeast Tennessee | SERC | Severe Weather - Tornadoes | 500 | UNK
2012-03-02 | 13:45 | 2012-03-02 | 15:30 | Piggott, Arkansas | SERC | Operational Failure/Equipment Malfunction | N/A | N/A
2012-03-02 | 21:00 | 2012-03-05 | 16:30 | Southeastern, Michigan | RFC | Severe Weather - Winter Storm | 371 | 130000
2012-03-02 | 21:00 | 2012-03-04 | 17:30 | Lower Peninsula, Michigan | RFC | Severe Weather - Winter Storm | 50 | 140000
2012-03-04 | 1:27 | 2012-03-04 | 6:58 | Prince Georges County, Maryland | RFC | Suspected Physical Attack | N/A | N/A
2012-03-04 | 13:38 | 2012-03-05 | 11:00 | Texas | SERC | Suspected Physical Attack | UNK | UNK
2012-03-16 | 16:00 | 2012-03-16 | 16:00 | New Castle, Delaware | RFC | Suspected Physical Attack | 0 | 0
2012-03-20 | 8:00 | 2012-03-20 | 13:00 | Houston, Texas | TRE | Severe Weather - Thunderstorms | N/A | 96000
2012-03-23 | 19:34 | 2012-03-23 | 19:34 | Newark, Delaware | RFC | Suspected Physical Attack | 0 | 0
2012-03-26 | 13:24 | 2012-03-26 | 13:24 | Tacoma, Washington | WECC | Suspected Physical Attack | N/A | N/A
2012-03-28 | 10:17 | 2012-03-28 | 10:17 | Graham, Washington | WECC | Suspected Physical Attack | N/A | N/A
2012-03-29 | 12:01 | 2012-03-29 | 12:02 | Lansing, Michigan | RFC | Electrical System Separation (Islanding) | UNK | 0
2012-03-30 | 11:10 | 2012-03-30 | 11:30 | Vermont | NPCC | Suspected Physical Attack | N/A | N/A
April
2012-04-01 | 20:27 | 2012-04-03 | 8:28 | Council Bluffs, Iowa | MRO | Vandalism | 0 | 0
2012-04-03 | 11:10 | 2012-04-03 | 11:25 | West Rutland, Vermont | NPCC | Vandalism | 0 | 0
2012-04-03 | 15:33 | 2012-04-03 | 20:25 | Seattle, Washington | WECC | Physical Attack | 0 | 0
2012-04-04 | 15:32 | 2012-04-06 | 15:30 | WAPA-SNR Regional Office, California | WECC | Suspected Physical Attack | N/A | N/A
2012-04-07 | 14:35 | 2012-04-07 | 14:36 | Newark, Delaware | RFC | Physical Attack | 0 | 0
2012-04-07 | 12:25 | 2012-04-07 | 12:26 | Newark, Delaware | RFC | Physical Attack | 0 | 0
2012-04-07 | 9:31 | 2012-04-07 | 9:32 | Newark, Delaware | RFC | Physical Attack | 0 | 0
2012-04-11 | 9:00 | 2012-04-11 | 9:00 | North Attleboro, Massachusetts | NPCC | Vandalism | 0 | 0
2012-04-12 | 8:08 | 2012-04-12 | 16:30 | Tacoma, Washington | WECC | Suspected Physical Attack | N/A | N/A
2012-04-15 | 19:38 | 2012-04-15 | 21:26 | Georgia | SERC | Suspected Physical Attack | UNK | UNK
2012-04-16 | 15:46 | 2012-04-19 | 2:00 | Southeast, Michigan | RFC | Severe Weather - High Winds | 218 | 111393
2012-04-17 | 6:11 | 2012-04-17 | 17:48 | San Diego County, California | WECC | Suspected Physical Attack | 0 | 0
2012-04-19 | 7:53 | 2012-04-19 | 16:00 | Tacoma, Washington | WECC | Suspected Physical Attack | N/A | N/A
2012-04-20 | 14:27 | 2012-04-21 | 4:27 | Metropolitan Houston, Texas | TRE | Severe Weather - Thunderstorms | N/A | 120377
2012-04-21 | 15:02 | 2012-04-21 | 20:09 | East Bridgewater, Massachusetts | NPCC | Physical Attack | N/A | N/A
Date Event Began | Time Event Began | Date of Restoration | Time of Restoration | Area Affected | NERC Region | Event Type | Demand Loss (MW) | Number of Customers Affected
April Continued
2012-04-21 | 20:55 | 2012-04-23 | 16:30 | Tacoma, Washington | WECC | Suspected Physical Attack | N/A | N/A
2012-04-23 | 8:11 | 2012-04-23 | 12:47 | Northwest Indiana | RFC | Suspected Physical Attack | N/A | N/A
2012-04-23 | 11:56 | 2012-04-23 | 15:35 | Snohomish County, Washington | WECC | Suspected Physical Attack | N/A | N/A
May
2012-05-07 | 12:50 | 2012-05-07 | 14:00 | Williston, Vermont | NPCC | Vandalism | 0 | 0
2012-05-07 | 17:45 | 2012-05-07 | 18:06 | Eastern Ohio | RFC | Load Shed/Severe Weather - Lightning Storm | 420 | 1
2012-05-11 | 11:05 | 2012-05-11 | 11:20 | Lakewood, Washington | WECC | Vandalism | N/A | N/A
2012-05-24 | 15:20 | 2012-05-25 | 17:29 | Tyngsborough, Massachusetts | NPCC | Physical Attack | UNK | UNK
2012-05-29 | 18:30 | 2012-05-29 | 19:40 | Alder Dam, Pierce County, Washington | WECC | Physical Attack | N/A | N/A
2012-05-29 | 20:35 | 2012-05-31 | 10:00 | Oklahoma City Metro Area, Oklahoma | SPP | Severe Weather - Thunderstorms | UNK | 112000
2012-05-31 | 23:45 | 2012-06-01 | 4:30 | Columbus, Ohio | RFC | Physical Attack | 0 | 0
June
2012-06-02 | 7:30 | 2012-06-02 | 11:35 | San Francisco, California | WECC | Vandalism | N/A | N/A
2012-06-06 | 8:00 | 2012-06-06 | 8:00 | Delhi, New York | NPCC | Vandalism | N/A | N/A
2012-06-06 | 12:37 | 2012-06-06 | 12:37 | Columbia Heights, NW, Washington DC | RFC | Vandalism | 0 | 0
2012-06-08 | 17:20 | 2012-06-08 | 17:25 | Denver Metro Area, Colorado | WECC | Load Shed | 120 | 30379
2012-06-11 | 19:50 | 2012-06-12 | 15:00 | North/Central Alabama; North/Central Georgia | SERC | Severe Weather - Thunderstorms | 368 | 110591
2012-06-12 | 15:57 | 2012-06-14 | 4:57 | Houston, Texas | TRE | Severe Weather - Thunderstorms | 920 | 175000
2012-06-13 | 16:55 | 2012-06-13 | 22:09 | San Juan County, New Mexico | WECC | Vandalism | 0 | 0
2012-06-19 | 4:30 | 2012-06-20 | 23:00 | Minneapolis/St. Paul, Minnesota | MRO | Severe Weather - Thunderstorms | UNK | 68200
2012-06-19 | 5:30 | 2012-06-21 | 5:30 | CAISO Territory California | WECC | Fuel Supply Deficiency (Water) | UNK | UNK
2012-06-23 | 18:57 | 2012-06-23 | 19:28 | North Shore, Massachusetts | NPCC | Load Shed | 51 | 29250
2012-06-25 | 16:04 | 2012-06-26 | 13:45 | Central Virginia | SERC | Severe Weather - Wind & Rain | 600 | 190000
2012-06-29 | 10:45 | 2012-06-29 | 10:45 | New Castle, Delaware | RFC | Physical Attack | 0 | 0
2012-06-29 | 12:10 | 2012-06-29 | 17:02 | Puerto Rico | N/A | Equipment Trip & Failure | 1800 | 900000
2012-06-29 | 14:10 | 2012-07-04 | 18:00 | Dayton, Ohio | RFC | Severe Weather - Thunderstorms | 500 | 175000
2012-06-29 | 16:00 | 2012-07-02 | 16:00 | Indiana; Michigan; Ohio; West Virginia | RFC | Severe Weather - Thunderstorms | UNK | 1355919
Date Event Began | Time Event Began | Date of Restoration | Time of Restoration | Area Affected | NERC Region | Event Type | Demand Loss (MW) | Number of Customers Affected
June Continued
2012-06-29 | 16:00 | 2012-06-29 | 21:00 | Eastern, Arkansas | SERC | Public Appeal to Reduce Electricity Usage | 45 | 7935
2012-06-29 | 17:15 | 2012-07-02 | 23:59 | Eastern Indiana; Northern Kentucky; Greater Cincinnati area Ohio | RFC | Severe Weather - Thunderstorms | 2946 | 4645572
2012-06-29 | 18:24 | 2012-07-06 | 10:00 | West Virginia | RFC | Severe Weather - Thunderstorms | 700 | 265000
2012-06-29 | 19:00 | 2012-07-07 | 19:43 | Maryland; West Virginia | RFC | Severe Weather - Thunderstorms | UNK | 145000
2012-06-29 | 22:15 | 2012-07-05 | 12:52 | Montgomery and Prince Georges Counties, Maryland; District of Columbia | RFC | Severe Weather - Thunderstorms | 3000 | 425000
2012-06-29 | 22:29 | 2012-07-04 | 15:36 | Virginia | SERC | Severe Weather - Thunderstorms | 5000 | 880000
2012-06-29 | 22:43 | 2012-07-05 | 11:50 | Greater Baltimore area, Maryland | RFC | Severe Weather - Thunderstorms | 1465 | 600000
2012-06-29 | 23:30 | 2012-06-30 | 2:00 | Northeast Illinois | RFC | Severe Weather - Thunderstorms | UNK | 109000
2012-06-30 | 1:00 | 2012-07-03 | 1:00 | Delaware; Maryland | RFC | Severe Weather - Thunderstorms | 0 | 86390
2012-06-30 | 1:15 | 2012-07-07 | 17:33 | Atlantic City Electric Service Territory New Jersey | RFC | Severe Weather - Thunderstorms | UNK | 205000
2012-06-30 | 15:00 | 2012-07-02 | 12:00 | Northeast Tennessee | SERC | Public Appeal to Reduce Electricity Usage | UNK | UNK
2012-06-30 | 22:30 | 2012-07-02 | 8:11 | Calvert, Charles, St. Mary's, Prince Georges Counties Maryland | RFC | Severe Weather - Thunderstorms | 354 | 60000
July
2012-07-01 13:00 | 41091.5417 | 2012-07-03 15:00 | 41093.625 | Illinois | RFC | Severe Weather - Thunderstorms | Unknown | 320000
2012-07-01 16:47 | 41091.6993 | 2012-07-01 23:00 | 41091.9583 | Tarboro, North Carolina | SERC | Operational Failure; Storm Damage | 48 | 6100
2012-07-01 17:45 | 41091.7396 | 2012-07-01 22:15 | 41091.9271 | Northern, Central and Eastern North Carolina | SERC | Severe Weather | Unknown | 69106
2012-07-05 04:30 | 0:00 | 2012-07-06 20:30 | 41096.8542 | Lower Peninsula Michigan | RFC | Severe Weather - Thunderstorms | Unknown | 111000
2012-07-05 19:00 | 41095.7917 | 2012-07-06 16:00 | 41096.6667 | Northeast Tennessee | SERC | Severe Weather - Wind & Storms | N/A | 50001
2012-07-06 15:05 | 41096.6285 | 2012-07-06 15:06 | 41096.6292 | Tacoma, Washington | WECC | Vandalism | N/A | N/A
2012-07-07 04:00 | 41097.1667 | 2012-07-10 04:00 | 41100.1667 | CAISO California | WECC | Fuel Supply Deficiency (Water) | Unknown | 0
2012-07-07 06:06 | 41097.2542 | 2012-07-09 23:00 | 41099.9583 | Lower Valley, Central, Susquehanna Regions Pennsylvania | RFC | Severe Weather - Thunderstorms | N/A | 64500
2012-07-07 18:00 | 41097.75 | 2012-07-09 19:01 | 41099.7924 | Central and Northern New Jersey | RFC | Severe Weather - Thunderstorms | N/A | 95400
2012-07-09 12:15 | 41099.5104 | 2012-07-09 16:14 | 41099.6764 | Alberta, Canada | WECC | Energy Deficiency Alert | 9896 | Unknown
2012-07-16 11:27 | 41106.4771 | 2012-07-16 12:29 | 41106.5201 | Little Rock, Arkansas | SPP | Public Appeal to Reduce Energy Usage | N/A | N/A
2012-07-18 14:16 | 41108.5944 | 2012-07-19 23:58 | 41109.9986 | Southeast Ohio, Northern Kentucky, Southern Indiana | RFC | Severe Weather - Thunderstorms | 480 | 103000
2012-07-18 16:20 | 41108.6806 | 2012-07-18 19:05 | 41108.7951 | Eastern Ohio | RFC | Severe Weather - Thunderstorms | Unknown | 67000
2012-07-18 23:00 | 41108.9583 | 2012-07-19 06:00 | 41109.25 | Northern Illinois | RFC | Severe Weather - Thunderstorms | Unknown | 181000
Date Event Began | Time Event Began | Date of Restoration | Time of Restoration | Area Affected | NERC Region | Event Type | Demand Loss (MW) | Number of Customers Affected
July Continued
2012-07-19 10:30 | 41109.4375 | 2012-07-31 11:00 | 41121.4583 | Niagara County, New York | NPCC | Fuel Supply Deficiency (Coal) | 675 | Unknown
2012-07-19 12:32 | 41109.5222 | 2012-07-19 12:33 | 41109.5229 | Newark, Delaware | RFC | Vandalism | N/A | N/A
2012-07-21 02:19 | 41111.0965 | 2012-07-21 05:20 | 41111.2222 | City of Lubbock, Texas | SPP | Severe Weather; Equipment Failure | 220 | 70000
2012-07-24 07:01 | 41114.2924 | 2012-07-24 16:30 | 41114.6875 | Northern Indiana | RFC | Severe Weather - Thunderstorms | N/A | 82621
2012-07-24 07:30 | 41114.3125 | 2012-07-24 22:00 | 41114.9167 | Northern Illinois | RFC | Severe Weather - Thunderstorms | Unknown | 330000
2012-07-26 18:14 | 41116.7597 | 2012-07-27 18:14 | 41117.7597 | Western Pennsylvania | RFC | Severe Weather - Thunderstorms | N/A | 65112
2012-07-26 18:21 | 41116.7646 | 2012-07-28 23:30 | 41118.9792 | North/Central Pennsylvania | RFC | Severe Weather - Thunderstorms | N/A | 65000
2012-07-26 18:30 | 41116.7708 | 2012-07-27 17:22 | 41117.7236 | Eastern Ohio | RFC | Severe Weather - Thunderstorms | Unknown | 57054
2012-07-27 17:19 | 41117.7215 | 2012-07-28 17:19 | 41118.7215 | Central Indiana | RFC | Severe Weather - Thunderstorms | Unknown | 52702
August
2012-08-01 12:00 | 41122.5 | 2012-08-01 12:00 | 41122.5 | Oklahoma, Arkansas | SPP | Public Appeal to Reduce Electricity Usage | Unknown | Unknown
2012-08-04 03:55 | 41125.1632 | 2012-08-04 04:21 | 41125.1813 | Temblor Substation in McKittrick, California | WECC | Electrical System Separation (Islanding) | 5 | 127
2012-08-04 04:00 | 41125.1667 | 2012-08-04 07:20 | 41125.3056 | Northern Indiana | RFC | Severe Weather - Thunderstorms | N/A | 61413
2012-08-04 17:30 | 41125.7292 | 2012-08-05 12:10 | 41126.5069 | Northeast Illinois | RFC | Severe Weather - Thunderstorms | Unknown | 325000
2012-08-11 12:45 | 41132.5312 | 2012-08-11 17:00 | 41132.7083 | Tacoma, Washington | WECC | Suspected Physical Attack | N/A | N/A
2012-08-13 13:15 | 41134.5521 | 2012-08-13 | 13:15 | Knoxville, Tennessee | SERC | Vandalism | Unknown | Unknown
2012-08-13 15:52 | 41134.6611 | 2012-08-13 | 19:44 | CFE (Mexico & U.S.) | WECC | Severe Weather - Dust Storm; Load Shed Event | 655 | Unknown
2012-08-16 13:13 | 41137.5507 | 2012-08-16 13:14 | 41137.5507 | Northern Indiana | RFC | Vandalism | 0 | 0
2012-08-19 08:42 | 41140.3625 | 2012-08-19 12:08 | 41140.5056 | El Paso, Texas | WECC | Suspected Physical Attack | 12 | 3314
2012-08-26 22:04 | 41147.9194 | 2012-08-27 | 2:04 | Florida | FRCC | Severe Weather - TS Isaac | N/A | 440000
2012-08-28 06:00 | 41149.25 | 2012-09-04 08:00 | 41156.3333 | Arkansas, Louisiana, Mississippi | SERC | Severe Weather - Hurricane Isaac | Unknown | 770000
2012-08-29 06:53 | 41150.2868 | 2012-08-30 14:00 | 41151.5833 | Louisiana | SERC | Severe Weather - Hurricane Isaac | 150 | 68018
2012-08-29 09:00 | 41150.375 | 2012-08-31 12:00 | 41152.5 | Louisiana | SERC | Severe Weather - Hurricane Isaac | 300 | 50000
2012-08-29 09:48 | 41150.4083 | 2012-08-31 12:55 | 41152.5382 | Louisiana | SPP | Severe Weather - Hurricane Isaac | Unknown | 95000
September
2012-09-05 10:56 | 41157.4556 | 2012-09-05 11:27 | 41157.4771 | Alberta, Canada | WECC | Electrical System Separation (Islanding) | 0 | 0
2012-09-06 04:45 | 41158.1979 | Ongoing | Ongoing | Oroville, California | WECC | Fuel Supply Deficiency (Water) | N/A | N/A
2012-09-07 21:30 | 41159.8958 | 2012-09-08 01:00 | 41160.0417 | Arkansas | SERC | Severe Weather - Thunderstorms | UNK | 64951
Date Event Began | Time Event Began | Date of Restoration | Time of Restoration | Area Affected | NERC Region | Event Type | Demand Loss (MW) | Number of Customers Affected
September Continued
2012-09-08 15:40 | 41160.6528 | 2012-09-08 18:45 | 41160.7812 | Prince George's County, Montgomery County Maryland; D.C. | RFC | Severe Weather - Thunderstorms | UNK | 65000
2012-09-08 15:53 | 41160.6618 | 2012-09-09 19:46 | 41161.8236 | Virginia | SERC | Severe Weather - Thunderstorms | 475 | 119000
2012-09-11 13:00 | 41163.5417 | 2012-09-11 13:58 | 41163.5819 | Alberta, Canada | WECC | Electrical System Separation (Islanding) | 0 | 0
2012-09-24 | 41176 | 2012-09-25 | 41177 | Brighton, Maryland | RFC | Suspected Physical Attack | 0 | 0
2012-09-26 21:16 | 41178.8861 | 2012-09-26 22:18 | 41178.9292 | Puerto Rico | N/A | Voltage Reduction | 600 | 371526
October
2012-10-05 17:30 | 41187.7292 | 2012-10-05 17:50 | 41187.7431 | Greater Sacramento, California | WECC | Suspected Physical Attack | N/A | N/A
2012-10-09 | 41191 | 2012-10-09 00:01 | 41191.0007 | Seat Pleasant, Maryland | RFC | Vandalsim | 0 | 0
2012-10-11 | 41193 | 2012-10-11 00:01 | 41193.0007 | Seat Pleasant, Maryland | RFC | Vandalsim | 0 | 0
2012-10-14 10:36 | 41196.4417 | 2012-10-14 10:50 | 41196.4514 | Northern California | WECC | Electrical System Separation (Islanding) | 3 | 2035
2012-10-15 14:15 | 41197.5938 | 2012-10-15 14:16 | 41197.5944 | Southeast Vermont | NPCC | Vandalism; Theft | 0 | 0
2012-10-22 | 41204 | 2012-10-22 00:01 | 41204.0007 | Norbeck, Maryland | RFC | Physical Attack; Vandalism | 0 | 0
2012-10-23 09:10 | 41205.3819 | 2012-10-23 09:16 | 41205.3861 | Crawfordsville, Indiana | RFC | Transmission System Interruption | 49 | 9800
2012-10-24 | 41206 | 2012-10-24 00:01 | 41206.0007 | Kingswood, Maryland | RFC | Physical Attack; Vandalism | 0 | 0
2012-10-24 | 41206 | 2012-10-24 00:01 | 41206.0007 | Brighton, Maryland | RFC | Suspected Physical Attack | 0 | 0
2012-10-24 15:15 | 41206.6354 | 2012-10-24 15:16 | 41206.6361 | Frankford, Delaware | RFC | Physical Attack; Vandalism | 0 | 0
2012-10-25 | 41207 | 2012-10-25 00:01 | 41207.0007 | West Lanham, Maryland | RFC | Physical Attack; Vandalism | N/A | N/A
2012-10-25 14:39 | 41207.6104 | 2012-10-25 18:00 | 41207.75 | Pueblo, Colorado | WECC | Physical Attack; Vandalism | 0 | 0
2012-10-25 18:51 | 41207.7854 | 2012-10-25 19:30 | 41207.8125 | Newark, Delaware | RFC | Physical Attack; Vandalism | 0 | 0
2012-10-29 | 41211 | 2012-11-09 23:59 | 41222.9993 | West Virginia | RFC | Severe Weather - Hurricane Sandy | 0 | 208000
2012-10-29 08:00 | 41211.3333 | 2012-11-04 23:00 | 41217.9583 | New Jersey | RFC | Severe Weather - Hurricane Sandy | Unknown | Unknown
2012-10-29 09:00 | 41211.375 | 2012-10-29 09:00 | 41211.3757 | LaGrande, Washington | WECC | Physical Attack; Vandalism | 0 | 0
2012-10-29 09:00 | 41211.375 | 2012-11-02 | 18:00 | Delaware, Maryland | RFC | Severe Weather - Hurricane Sandy | Unknown | 70000
2012-10-29 12:00 | 41211.5 | 2012-11-04 | 23:00 | New Jersey | RFC | Severe Weather - Hurricane Sandy | Unknown | 217000
2012-10-29 13:00 | 41211.5417 | 2012-11-12 14:00 | 41225.5833 | Long Island, New York | NPCC | Severe Weather - Hurricane Sandy | 0 | 632816
2012-10-29 14:40 | 41211.6111 | 2012-10-30 18:16 | 41212.7611 | Boston, Southeast Massachusetts | NPCC | Severe Weather - Hurricane Sandy | Unknown | 50000
Date Event Began | Time Event Began | Date of Restoration | Time of Restoration | Area Affected | NERC Region | Event Type | Demand Loss (MW) | Number of Customers Affected
October Continued
2012-10-29 14:45 | 41211.6146 | 2012-11-01 01:30 | 41214.0625 | Eastern Massachusetts | NPCC | Severe Weather - Hurricane Sandy | Unknown | 50000
2012-10-29 15:00 | 41211.625 | 2012-10-29 15:00 | 41211.6257 | Las Vegas, Nevada | WECC | Suspected Physical Attack | N/A | N/A
2012-10-29 15:15 | 41211.6354 | 2012-11-04 | 20:00 | Connecticut, Western Massachusetts | NPCC | Severe Weather - Hurricane Sandy | 0 | 649075
2012-10-29 16:00 | 41211.6667 | 2012-11-07 23:48 | 41220.9917 | Eastern Pennsylvania | RFC | Severe Weather - Hurricane Sandy | 0 | 270000
2012-10-29 16:00 | 41211.6667 | 2012-11-08 17:08 | 41221.7139 | Maryland; West Virginia | RFC | Severe Weather - Hurricane Sandy | Unknown | 150000
2012-10-29 16:00 | 41211.6667 | 2012-11-05 23:59 | 41218.9993 | Greater Cleveland Ohio | RFC | Severe Weather - Hurricane Sandy | 0 | 346000
2012-10-29 16:01 | 41211.6674 | 2012-11-08 | 41211.7917 | Greater New York City, New York | NPCC | Severe Weather - Hurricane Sandy | 0 | 818000
2012-10-29 16:03 | 41211.6687 | 2012-11-06 | 12:00 | New Jersey | NPCC | Severe Weather - Hurricane Sandy | Unknown | 50000
2012-10-29 16:45 | 41211.6979 | 2012-10-31 11:00 | 41213.4583 | New Hampshire | NPCC | Severe Weather - Hurricane Sandy | N/A | 50000
2012-10-29 17:13 | 41211.7174 | 2012-10-31 | 11:00 | Greater Baltimore Maryland | RFC | Severe Weather - Hurricane Sandy | 0 | 219000
2012-10-29 17:30 | 41211.7292 | 2012-11-06 | 41219 | Greater Philadelphia Pennsylvania | RFC | Severe Weather - Hurricane Sandy | Unknown | 850000
2012-10-29 18:11 | 41211.7576 | 2012-11-04 | 41211.9514 | Central Pennsylvania | RFC | Severe Weather - Hurricane Sandy | Unknown | 400000
2012-10-29 18:12 | 41211.7583 | 2012-10-30 19:35 | 41212.816 | Virginia | RFC | Severe Weather - Hurricane Sandy | 520 | 156000
2012-10-29 18:46 | 41211.7819 | 2012-11-03 | 41211.4479 | Southeast New York; New Jersey | NPCC; RFC | Severe Weather - Hurricane Sandy | Unknown | 200000
2012-10-29 18:48 | 41211.7833 | 2012-11-04 | 41211.4833 | New York | NP | Severe Weather - Hurricane Sandy | Unknown | 371000
2012-10-29 19:00 | 41211.7917 | 2012-11-02 | 41211.2083 | Indiana; Kentucky; Michigan; Ohio | RFC; SERC | Severe Weather - Nor'easter | Unknown | 173273
2012-10-29 19:15 | 41211.8021 | 2012-10-30 15:02 | 41212.6264 | Southeast and Seacoast Maine | NPCC | Severe Weather - Hurricane Sandy | Unknown | 50000
2012-10-30 | 41212 | 2012-10-30 00:02 | 41212.0014 | Hyattsville, Maryland | RFC | Physical Attack; Vandalism | 0 | 0
2012-10-30 02:00 | 41212.0833 | 2012-11-01 22:00 | 41214.9167 | Greater Detroit Michigan | RFC | Severe Weather - Nor'easter | Unknown | 133777
2012-10-30 13:20 | 41212.5556 | 2012-10-30 13:25 | 41212.559 | Fitzwilliam, New Hampshire | NPCC | Vandalism | 0 | 0
2012-10-30 15:00 | 41212.625 | 2012-10-30 15:01 | 41212.6257 | Pueblo, Colorado | WECC | Physical Attack; Vandalism | Unknown | Unknown
November
2012-11-02 | 9:30 | 2012-11-02 | 12:10 | Concord, Vermont | NPCC | Physical Attack; Vandalism | 0 | 0
2012-11-07 | 14:21 | 2012-11-07 | 14:48 | New Hampshire | NPCC | Physical Attack; Vandalism | 0 | 0
2012-11-08 | 9:34 | 2012-11-08 | 9:35 | Bishopville, Maryland | RFC | Physical Attack; Vandalism | 0 | 0
2012-11-15 | 5:38 | 2012-11-15 | 5:39 | Southeast Massachusetts | NPCC | Physical Attack; Vandalism | 0 | 0
Date Event Began | Time Event Began | Date of Restoration | Time of Restoration | Area Affected | NERC Region | Event Type | Demand Loss (MW) | Number of Customers Affected
November Continued
2012-11-15 | 21:09 | 2012-11-15 | 21:26 | Iowa; Michigan | MRO | Suspected Cyber Attack | Unknown | Unknown
2012-11-17 | 10:00 | 2012-11-18 | 10:00 | Comanche Peak, Texas | TRE | Fuel Supply Deficiency | 1231 | 0
2012-11-21 | 14:50 | 2012-11-21 | 14:51 | Bethany Beach, Delaware | RFC | Physical Attack; Vandalism | N/A | N/A
2012-11-26 | 12:37 | 2012-11-26 | 12:38 | Frankfort, Delaware | RFC | Physical Attack; Vandalism | 0 | 0
2012-11-26 | 15:07 | 2012-11-26 | 15:08 | Georgetown, Delaware | RFC | Physical Attack; Vandalism | N/A | N/A
2012-11-27 | 13:07 | 2012-11-27 | 13:40 | New Hampshire | NPCC | Physical Attack; Vandalism | 0 | 0
December
2012-12-02 | 5:20 | 2012-12-04 | 9:00 | Northern California | WECC | Severe Weather - Winter Storm | 250 | 125000
2012-12-03 | 12:02 | 2012-12-03 | 12:30 | Tacoma, Washington | WECC | Suspected Physical Attack | 0 | 0
2012-12-06 | 21:18 | 2012-12-06 | 21:31 | Greater San Jose, California | WECC | Load Shed | 390 | Unknown
2012-12-17 | 6:55 | 2012-12-17 | 7:00 | Tacoma, Washington | WECC | Suspected Physical Attack | 0 | 0
2012-12-25 | 0:45 | 2012-12-28 | 16:15 | Arkansas; Louisiana; Mississippi; Texas | SPP | Severe Weather - Winter Storm | Unknown | 242509
2012-12-25 | 9:28 | 2012-12-26 | 16:28 | Houston, Texas | TRE | Severe Weather - Cold Front, High Winds | 294 | 262000
2012-12-26 | 14:50 | 2012-12-26 | 19:40 | Stantonsburg, North Carolina | SERC | Severe Weather - Thunderstorm | 3 | 1200
2012-12-31 | 14:21 | 2012-12-31 | 16:30 | North Carolina | SERC | Transmission Interruption | 40 | 12000
1 Source: Submissions of all Electric Emergency Incident and Disturbance Reports (OE-417), http://www.oe.netl.doe.gov/oe417.aspx