## Sheet1
OE-417 Electric Emergency and Disturbance (OE-417) Events, 2023
Event Month | Date Event Began | Time Event Began | Date of Restoration | Time of Restoration | Area Affected | NERC Region | Alert Criteria | Event Type | Demand Loss (MW) | Number of Customers Affected
January | 01/01/2023 | 0:06 | 01/01/2023 | 3:57 | California: Riverside County; | WECC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | Vandalism | 0 | 0
January | 01/01/2023 | 9:55 | 01/01/2023 | 10:30 | California: Sacramento County; | WECC | Complete loss of monitoring or control capability at its staffed Bulk Electric System control center for 30 continuous minutes or more. | System Operations | 0 | 0
January | 01/01/2023 | 14:47 | 01/01/2023 | 16:50 | Florida: Citrus County; | SERC | Physical attack that could potentially impact electric power system adequacy or reliability; or vandalism which targets components of any security systems | Vandalism | 19 | 3509
January | 01/02/2023 | 16:12 | 01/03/2023 | 9:30 | Texas: Dallas County; | TRE | Damage or destruction of its Facility that results from actual or suspected intentional human action. | Vandalism | 0 | 0
January | 01/02/2023 | 3:16 | 01/02/2023 | 16:46 | New Mexico: | WECC | Physical attack that causes major interruptions or impacts to critical infrastructure or to operations | Vandalism | 432 | 0
January | 01/02/2023 | 18:22 | 01/02/2023 | 22:27 | Arkansas: Union County; Louisiana: Ouachita Parish; | SERC | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing). | Severe Weather | 20 | 6849
January | 01/03/2023 | 11:45 | 01/03/2023 | 12:00 | Michigan: Ingham County; | RF | Damage or destruction of its Facility that results from actual or suspected intentional human action. | Vandalism | 0 | 0
January | 01/05/2023 | 8:19 | 01/05/2023 | 8:20 | Louisiana: Concordia Parish; | SERC | Electrical System Separation (Islanding) where part or parts of a power grid remain(s) operational in an otherwise blacked out area or within the partial failure of an integrated electrical system | Transmission Interruption | 23 | 1631
January | 01/05/2023 | 7:30 | 01/05/2023 | 9:30 | Washington: Lewis County; | WECC | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | Suspicious Activity | 0 | 0
January | 01/06/2023 | 9:30 | 01/06/2023 | 11:30 | Ohio: Sandusky County; | RF | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | Suspicious Activity | Unknown | Unknown
January | 01/07/2023 | 22:00 | 01/08/2023 | 21:00 | California: Sacramento County; | WECC | Loss of electric service to more than 50,000 customers for 1 hour or more | Severe Weather | 458 | 185434
January | 01/07/2023 | 23:44 | 01/08/2023 | 2:29 | Texas: Jasper County, Tyler County; | TRE | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing). | Transmission Interruption | 20 | 9823
January | 01/08/2023 | 18:40 | 01/08/2023 | 18:54 | Texas: Bowie County; | TRE | Damage or destruction of its Facility that results from actual or suspected intentional human action. | Vandalism | 0 | 0
January | 01/12/2023 | 10:00 | Unkonwn | Unknown | California: Sacramento County; | WECC | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | Suspicious Activity | 0 | 0
January | 01/12/2023 | 14:00 | 01/13/2023 | 3:00 | Alabama: Georgia: | SERC | Loss of electric service to more than 50,000 customers for 1 hour or more | Severe Weather | 1158 | 162000
January | 01/12/2023 | 11:58 | 01/12/2023 | 12:30 | Washington: King County; | WECC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | Vandalism | Unknown | Unknown
January | 01/13/2023 | 0:00 | 01/13/2023 | 1:00 | Texas: Fayette County; | TRE | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | Suspicious Activity | 0 | 0
January | 01/19/2023 | 11:00 | 01/19/2023 | 13:00 | South Carolina: Sumter County; | SERC | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | Suspicious Activity | Unknown | Unknown
January | 01/20/2023 | 10:45 | Unknown | Unknown | Michigan: Oakland County; | RF | Damage or destruction of its Facility that results from actual or suspected intentional human action. | Vandalism | Unknown | 0
January | 01/23/2023 | 7:05 | 01/24/2023 | 17:17 | Connecticut: Rhode Island: Massachusetts: Vermont: New Hampshire: Maine: | NPCC | Loss of electric service to more than 50,000 customers for 1 hour or more | Severe Weather | Unknown | 41000
January | 01/23/2023 | 17:00 | Unknown | Unknown | California: Sacramento County; | WECC | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | Suspicious Activity | Unknown | Unknown
January | 01/23/2023 | 9:21 | Unknown | Unknown | California: Sacramento County; | WECC | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | Suspicious Activity | Unknown | Unknown
January | 01/24/2023 | 14:00 | 01/24/2023 | 15:00 | Louisiana: | SERC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | Vandalism | 0 | 0
January | 01/24/2023 | 17:10 | 01/24/2023 | 17:20 | New York: Queens County; | NPCC | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | Suspicious Activity | 0 | 0
January | 01/24/2023 | 15:25 | 01/26/2023 | 20:20 | Texas: Harris County; | TRE | Loss of electric service to more than 50,000 customers for 1 hour or more | Severe Weather | Unknown | 100731
January | 01/25/2023 | 22:30 | 01/26/2023 | 0:01 | Washington: Kitsap County; | WECC | Physical attack that could potentially impact electric power system adequacy or reliability; or vandalism which targets components of any security systems | Vandalism | 0 | 0
January | 01/25/2023 | 15:57 | 01/25/2023 | 17:38 | Texas: Cameron County; | TRE | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | Suspicious Activity | 0 | 0
January | 01/25/2023 | 3:30 | 01/25/2023 | 13:00 | Arkansas: Texas: Louisiana: Mississippi: | SERC | Loss of electric service to more than 50,000 customers for 1 hour or more | Severe Weather | Unknown | 60958
January | 01/26/2023 | 7:00 | 01/26/2023 | 14:46 | Washington: King County; | WECC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | Vandalism | 0 | 0
January | 01/28/2023 | 4:00 | 01/28/2023 | 5:00 | Illinois: Franklin County; | SERC/RF | Damage or destruction of its Facility that results from actual or suspected intentional human action. | Suspicious Activity | 0 | 0
January | 01/29/2023 | 8:19 | 01/29/2023 | 11:07 | Kentucky: | SERC | Complete loss of monitoring or control capability at its staffed Bulk Electric System control center for 30 continuous minutes or more. | System Operations | 0 | 0
January | 01/30/2023 | 10:30 | Unknown | Unknown | Minnesota: | MRO | Physical threat to its Bulk Electric System control center, excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the control center. Or suspicious device or activity at its Bulk Electric System control center. | Suspicious Activity | Unknown | Unknown
January | 01/31/2023 | 8:15 | 02/06/2023 | 17:00 | Texas: Dallas County, Anderson County, Bosque County, Collin County, Comanche County, Cooke County, Delta County, Denton County, Ellis County, Erath County, Fannin County, Freestone County, Hamilton County, Henderson County, Hill County, Hood County, Hopkins County, Hunt County, Jack County, Johnson County, Kaufman County, Lamar County, Navarro County, Palo Pinto County, Parker County, Rains County, Red River County, Rockwall County, Somervell County, Tarrant County, Van Zandt County, Wichita County, Wise County; | TRE | Loss of electric service to more than 50,000 customers for 1 hour or more | Severe Weather | Unknown | 360000
February | 02/01/2023 | 5:00 | 02/04/2023 | 22:39 | Texas: Travis County; | TRE | Loss of electric service to more than 50,000 customers for 1 hour or more | Severe Weather | 370 | 173879
February | 02/02/2023 | 22:07 | 02/03/2023 | 16:08 | Colorado: | WECC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | Vandalism | 0 | 0
February | 02/02/2023 | 11:00 | Unknown | Unknown | Pennsylvania: Westmoreland County; | RF | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | Suspicious Activity | 0 | 0
February | 02/02/2023 | 8:15 | 02/02/2023 | 19:45 | Arkansas: Mississippi: Texas: | SERC | Loss of electric service to more than 50,000 customers for 1 hour or more | Severe Weather | Unknown | 74426
February | 02/02/2023 | 14:37 | 02/02/2023 | 14:47 | Maryland: Cecil County; | RF | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | Suspicious Activity | 0 | 0
February | 02/03/2023 | 16:00 | 02/03/2023 | 16:45 | Oregon: Washington: Yakima County; Idaho: Utah: Wyoming: | WECC | Physical attack that could potentially impact electric power system adequacy or reliability; or vandalism which targets components of any security systems | Vandalism | 0 | 0
February | 02/04/2023 | 11:14 | 02/04/2023 | 12:55 | Ohio: Gallia County; | RF | Physical attack that could potentially impact electric power system adequacy or reliability; or vandalism which targets components of any security systems | Vandalism | 2000 | Unknown
February | 02/06/2023 | 17:06 | 02/06/2023 | 17:31 | Florida: Hillsborough County; | SERC | Complete loss of monitoring or control capability at its staffed Bulk Electric System control center for 30 continuous minutes or more. | System Operations | 0 | 0
February | 02/06/2023 | 10:00 | 02/06/2023 | 10:02 | Maryland: | RF | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | Suspicious Activity | 0 | 0
February | 02/07/2023 | 13:34 | 02/07/2023 | 14:06 | Wisconsin: La Crosse County; | MRO | Unplanned evacuation from its Bulk Electric System control center facility for 30 continuous minutes or more. | System Operations | 0 | 0
February | 02/07/2023 | 6:15 | 02/07/2023 | 6:20 | Illinois: DuPage County; | SERC | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | Suspicious Activity | 0 | 0
February | 02/07/2023 | 8:30 | Unknown | Unknown | New York: Queens County; | NPCC | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | Suspicious Activity | 0 | 0
February | 02/08/2023 | 13:30 | 02/08/2023 | 14:00 | Pennsylvania: Lawrence County; | RF | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | Suspicious Activity | 0 | 0
February | 02/11/2023 | 11:17 | 02/11/2023 | 18:20 | Texas: Taylor County; | TRE | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing). | Transmission Interruption | 0 | 0
February | 02/13/2023 | 21:50 | 02/14/2023 | 2:24 | California: San Diego County; | WECC | Physical attack that could potentially impact electric power system adequacy or reliability; or vandalism which targets components of any security systems | Suspicious Activity | 0 | 0
February | 02/13/2023 | 5:27 | 02/13/2023 | 15:00 | Wisconsin: Chippewa County; | MRO | Damage or destruction of its Facility that results from actual or suspected intentional human action. | Vandalism | 0 | 0
February | 02/15/2023 | 14:25 | 02/15/2023 | 14:30 | Florida: Clay County; | SERC | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | Suspicious Activity | 0 | 0
February | 02/18/2023 | 0:00 | 02/18/2023 | 0:05 | Oklahoma: Kay County; | MRO | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | Suspicious Activity | 0 | 0
February | 02/19/2023 | 8:18 | 02/19/2023 | 12:15 | California: Riverside County; | WECC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | Vandalism | 0 | 0
February | 02/21/2023 | 9:45 | Unknown | Unknown | Texas: Cameron County; | TRE | Cyber event that could potentially impact electric power system adequacy or reliability | Cyber Event | 0 | 0
February | 02/21/2023 | 5:27 | 02/21/2023 | 6:41 | Florida: Hillsborough County; | SERC | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing). | Transmission Interruption | 0 | 0
February | 02/21/2023 | 13:14 | 02/21/2023 | 14:36 | Florida: Orange County; | SERC | Physical attack that could potentially impact electric power system adequacy or reliability; or vandalism which targets components of any security systems | Actual Physical Attack/Vandalism | Unknown | 2547
February | 02/22/2023 | 18:41 | 02/25/2023 | 16:12 | Michigan: Van Buren County, Kalamazoo County, St. Joseph County, Calhoun County, Branch County, Hillsdale County, Jackson County, Washtenaw County, Monroe County, Lenawee County, Ingham County, Barry County, Allegan County, Ottawa County, Eaton County, Ingham County, Shiawassee County, Clinton County; | RF | Loss of electric service to more than 50,000 customers for 1 hour or more | Severe Weather | Unknown | 261043
February | 02/22/2023 | 18:30 | Unknown | Unknown | Michigan: | RF | Loss of electric service to more than 50,000 customers for 1 hour or more | Severe Weather | 6200 | 623358
February | 02/22/2023 | 16:00 | 02/22/2023 | 16:01 | South Dakota: | MRO | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | Suspicious Activity | 0 | 0
February | 02/23/2023 | 4:30 | 02/23/2023 | 13:00 | Wisconsin: Kenosha County, Racine County, Milwaukee County, Walworth County, Jefferson County, Waukesha County; Michigan: | MRO | Loss of electric service to more than 50,000 customers for 1 hour or more | Severe Weather | 143 | 57000
February | 02/23/2023 | 8:50 | 02/23/2023 | 12:38 | Colorado: Larimer County; | WECC | Fuel supply emergencies that could impact electric power system adequacy or reliability | System Operations | 0 | 0
February | 02/24/2023 | 12:29 | 02/24/2023 | 12:45 | Florida: Pasco County; | SERC | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | Suspicious Activity | 0 | 0
February | 02/25/2023 | 0:08 | 02/26/2023 | 18:08 | California: Los Angeles County; | WECC | Loss of electric service to more than 50,000 customers for 1 hour or more | Severe Weather | Unknown | 153555
February | 02/26/2023 | 14:08 | 02/26/2023 | 15:13 | North Carolina: | SERC | Physical attack that could potentially impact electric power system adequacy or reliability; or vandalism which targets components of any security systems | Actual Physical Attack/Vandalism | Unknown | Unknown
February | 02/27/2023 | 13:25 | 02/27/2023 | 23:59 | Michigan: Newaygo County, Oceana County, Ionia County, Montcalm County, Jackson County, Van Buren County, Washtenaw County, Hillsdale County, Lenawee County; | RF | Loss of electric service to more than 50,000 customers for 1 hour or more | Severe Weather | Unknown | 76000
February | 02/28/2023 | 8:00 | 02/28/2023 | 8:30 | Wisconsin: Outagamie County; | MRO | Physical attack that could potentially impact electric power system adequacy or reliability; or vandalism which targets components of any security systems | Vandalism | 14 | 0
March | 03/01/2023 | 0:00 | 03/01/2023 | 0:41 | Indiana: Hamilton County; | MRO | Complete loss of monitoring or control capability at its staffed Bulk Electric System control center for 30 continuous minutes or more. | System Operations | 0 | 0
March | 03/02/2023 | 19:00 | 03/04/2023 | 23:00 | Texas: Montague County, Cooke County, Grayson County, Fannin County, Lamar County, Young County, Jack County, Wise County, Denton County, Collin County, Hunt County, Delta County, Hopkins County, Stephens County, Palo Pinto County, Parker County, Tarrant County, Dallas County, Rockwall County, Kaufman County, Van Zandt County, Rains County, Eastland County, Erath County, Hood County, Somervell County, Johnson County, Ellis County, Henderson County, Comanche County, Mills County, Hamilton County, Bosque County, Hill County, Navarro County, Freestone County, Anderson County, Lampasas County, Coryell County, Bell County, McLennan County, Falls County, Limestone County, Leon County, Milam County, Robertson County; | TRE | Loss of electric service to more than 50,000 customers for 1 hour or more | Severe Weather | Unknown | 470000
March | 03/03/2023 | 13:45 | 03/03/2023 | 13:50 | Illinois: Cook County; | SERC/RF | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | Suspicious Activity | 0 | 0
March | 03/03/2023 | 9:45 | 03/03/2023 | 9:50 | Mississippi: | SERC | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing). | System Operations | 38 | 12014
March | 03/03/2023 | 8:00 | 03/03/2023 | 8:01 | Texas: Tarrant County; | TRE | Damage or destruction of its Facility that results from actual or suspected intentional human action. | Suspicious Activity | 0 | 0
March | 03/03/2023 | 15:40 | Unknown | Unknown | Kentucky: Oldham County, Jefferson County, Fayette County, Franklin County, Hardin County, Hart County, Hopkins County, Jessamine County, Muhlenberg County, Nelson County, Scott County, Shelby County, Spencer County, Washington County, Woodford County, Bullitt County, Meade County, Lyon County, LaRue County, Henry County, Grayson County, Boyle County, Christian County, Anderson County; Virginia: Wise County; | SERC | Loss of electric service to more than 50,000 customers for 1 hour or more | Severe Weather | Unknown | 346000
March | 03/03/2023 | 19:28 | 03/03/2023 | 20:54 | Ohio: Kentucky: | RF | Loss of electric service to more than 50,000 customers for 1 hour or more | Severe Weather | Unknown | 57186
March | 03/03/2023 | 14:00 | 03/04/2023 | 4:00 | Tennessee: Davidson County; | SERC | Loss of electric service to more than 50,000 customers for 1 hour or more | Severe Weather | Unknown | 115000
March | 03/03/2023 | 17:50 | 03/05/2023 | 12:01 | Michigan: | RF | Loss of electric service to more than 50,000 customers for 1 hour or more | Severe Weather | 0 | 200000
March | 03/03/2023 | 12:45 | 03/03/2023 | 22:42 | Alabama: Georgia: Mississippi: | SERC | Loss of electric service to more than 50,000 customers for 1 hour or more | Severe Weather | 346 | 48384
March | 03/03/2023 | 15:40 | Unknown | Unknown | Kentucky: Oldham County, Jefferson County, Fayette County, Franklin County, Hardin County, Hart County, Hopkins County, Jessamine County, Muhlenberg County, Nelson County, Scott County, Shelby County, Spencer County, Washington County, Woodford County, Bullitt County, Meade County, Lyon County, LaRue County, Henry County, Grayson County, Boyle County, Christian County, Anderson County; Virginia: Williamsburg, City of[23], Wise County; | SERC | Loss of electric service to more than 50,000 customers for 1 hour or more | Severe Weather | Unknown | Unknown
March | 03/04/2023 | 7:05 | 03/04/2023 | 7:06 | Louisiana: | SERC | Uncontrolled loss of 300 Megawatts or more of firm system loads for 15 minutes or more from a single incident | Transmission Interruption | 965 | 33
March | 03/04/2023 | 7:05 | 03/04/2023 | 7:06 | Louisiana: | SERC | Uncontrolled loss of 300 Megawatts or more of firm system loads for 15 minutes or more from a single incident | Transmission Interruption | 800 | Unknown
March | 03/05/2023 | 20:03 | 03/06/2023 | 15:38 | Georgia: Fulton County; | SERC | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | Suspicious Activity | 0 | 0
March | 03/05/2023 | 11:53 | 03/06/2023 | 7:51 | West Virginia: Randolph County, Barbour County; | RF | Damage or destruction of its Facility that results from actual or suspected intentional human action. | Vandalism | 0 | 0
March | 03/06/2023 | 16:18 | 03/06/2023 | 17:30 | Virginia: Orange County; | SERC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | Actual Physical Attack/Vandalism | 1 | 0
March | 03/07/2023 | 11:00 | 03/07/2023 | 15:45 | Texas: Lubbock County; New Mexico: | TRE | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | Vandalism | 0 | 0
March | 03/07/2023 | 10:26 | 03/07/2023 | 14:42 | Texas: Lubbock County; | TRE | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | Vandalism | 0 | 0
March | 03/08/2023 | 0:02 | Unknown | Unknown | Texas: Bee County; | TRE | Damage or destruction of its Facility that results from actual or suspected intentional human action. | Vandalism | 0 | 0
March | 03/08/2023 | 1:00 | 03/08/2023 | 2:00 | Indiana: Hendricks County; | RF | Damage or destruction of its Facility that results from actual or suspected intentional human action. | Vandalism | 0 | 0
March | 03/09/2023 | 18:00 | 03/10/2023 | 18:00 | Wisconsin: Walworth County, Waukesha County, Milwaukee County, Racine County, Ozaukee County, Kenosha County; | MRO/RF | Loss of electric service to more than 50,000 customers for 1 hour or more | Severe Weather | 250 | 100000
March | 03/10/2023 | 4:48 | 03/10/2023 | 13:07 | Texas: Webb County, Hidalgo County; | TRE | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing). | System Operations | 0 | 0
March | 03/10/2023 | 8:00 | 03/10/2023 | 8:56 | Idaho: Ada County; | WECC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | Vandalism | 0 | 0
March | 03/14/2023 | 8:00 | 03/16/2023 | 8:20 | Connecticut: Massachusetts: Vermont: Rhode Island: New Hampshire: Maine: | NPCC | Loss of electric service to more than 50,000 customers for 1 hour or more | Severe Weather | Unknown | 83000
March | 03/14/2023 | 9:25 | 03/15/2023 | 15:00 | New York: | NPCC | Loss of electric service to more than 50,000 customers for 1 hour or more | Severe Weather | Unknown | Unknown
March | 03/16/2023 | 10:34 | 03/16/2023 | 14:26 | Texas: Lubbock County; | TRE | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | Suspicious Activity | 0 | 0
March | 03/22/2023 | 5:45 | 03/22/2023 | 5:46 | Pennsylvania: Greene County; | RF | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | Suspicious Activity | 621 | 0
March | 03/23/2023 | 17:19 | 03/23/2023 | 18:06 | Washington: King County; | WECC | Complete loss of monitoring or control capability at its staffed Bulk Electric System control center for 30 continuous minutes or more. | Cyber Event | 0 | 0
March | 03/23/2023 | 11:37 | 03/23/2023 | 11:38 | Texas: Tarrant County; | TRE | Damage or destruction of its Facility that results from actual or suspected intentional human action. | Vandalism | 0 | 0
March | 03/23/2023 | 0:39 | 03/23/2023 | 0:40 | Nevada: Clark County; | WECC | Physical attack that could potentially impact electric power system adequacy or reliability; or vandalism which targets components of any security systems | Actual Physical Attack/Vandalism | 24 | 11479
March | 03/25/2023 | 16:13 | 03/27/2023 | 18:30 | Michigan: | RF | Loss of electric service to more than 50,000 customers for 1 hour or more | Severe Weather | 5800 | 67893
March | 03/25/2023 | 16:12 | Unknown | Unknown | Ohio: West Virginia: Virginia: | RF | Loss of electric service to more than 50,000 customers for 1 hour or more | Severe Weather | Unknown | 160801
March | 03/26/2023 | 12:52 | 03/26/2023 | 13:54 | Washington: Oregon: Josephine County; California: Idaho: Utah: Wyoming: Montana: | WECC | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | Vandalism | 34 | Unknown
March | 2023-03-28 | 18:03 | 03/28/2023 | 20:08 | Texas: Cameron County; | TRE | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | Suspicious Activity | 0 | 0
March | 03/28/2023 | 5:22 | 03/28/2023 | 6:57 | Texas: Montgomery County; | TRE | Unplanned evacuation from its Bulk Electric System control center facility for 30 continuous minutes or more. | System Operations | 0 | 0
March | 03/28/2023 | 10:05 | Unknown | Unknown | Texas: Hartley County; | TRE | Physical attack that could potentially impact electric power system adequacy or reliability; or vandalism which targets components of any security systems | Vandalism | 0 | 0
March | 03/29/2023 | 5:26 | 03/29/2023 | 7:23 | Nebraska: Kearney County; | MRO | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing). | System Operations | 0 | 0
March | 03/29/2023 | 17:37 | 03/29/2023 | 19:15 | Wisconsin: Michigan: | MRO / RF | Complete loss of monitoring or control capability at its staffed Bulk Electric System control center for 30 continuous minutes or more. | System Operations | 0 | 0
March | 03/30/2023 | 9:13 | 03/30/2023 | 9:15 | Washington: Kitsap County; | WECC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | Vandalism | 0 | 0
March | 03/30/2023 | 18:28 | 03/30/2023 | 22:13 | Colorado: Larimer County; | WECC | Electrical System Separation (Islanding) where part or parts of a power grid remain(s) operational in an otherwise blacked out area or within the partial failure of an integrated electrical system | Transmission Interruption | 18 | Unknown
March | 03/30/2023 | 9:40 | 03/30/2023 | 10:00 | Kentucky: | SERC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | Vandalism | 0 | 0
March | 03/30/2023 | 19:21 | Unknown | Unknown | Colorado: Larimer County; | WECC | Electrical System Separation (Islanding) where part or parts of a power grid remain(s) operational in an otherwise blacked out area or within the partial failure of an integrated electrical system | Transmission Interruption | Unknown | Unknown
March | 03/30/2023 | 5:00 | 03/30/2023 | 14:20 | Pennsylvania: Indiana County; | RF | Damage or destruction of its Facility that results from actual or suspected intentional human action. | Vandalism | 1711 | 0
March | 03/31/2023 | 18:00 | 03/31/2023 | 20:45 | Arkansas: | SERC | Loss of electric service to more than 50,000 customers for 1 hour or more | Severe Weather | Unknown | 58368
March | 03/31/2023 | 23:00 | 04/01/2023 | 16:15 | Minnesota: Ramsey County, Hennepin County, Dakota County, Washington County; | MRO | Loss of electric service to more than 50,000 customers for 1 hour or more | Severe Weather | Unknown | 80000
March | 03/31/2023 | 20:49 | Unknown | Unknown | Illinois: | SERC / RF | Loss of electric service to more than 50,000 customers for 1 hour or more | Severe Weather | Unknown | 65000
April | 04/01/2023 | 14:00 | 04/03/2023 | 10:47 | Ohio: West Virginia: Virginia: | RF/SERC | Loss of electric service to more than 50,000 customers for 1 hour or more | Severe Weather | Unknown | 118000
April | 04/03/2023 | 12:06 | 04/03/2023 | 12:54 | Alabama: Walker County; | SERC | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | Actual Physical Attack/Vandalism | 0 | 0
April | 04/03/2023 | 18:50 | 04/03/2023 | 19:26 | Colorado: Wyoming: Nebraska: Arizona: New Mexico: Utah: California: | WECC/MRO | Complete loss of monitoring or control capability at its staffed Bulk Electric System control center for 30 continuous minutes or more. | Transmission Interruption | Unknown | 0
April | 04/08/2023 | 4:30 | 04/08/2023 | 5:05 | Texas: Cameron County; | TRE | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | Suspicious Activity | 0 | 0
April | 04/11/2023 | 8:11 | Unknown | Unknown | Ohio: Kentucky: | RF | Damage or destruction of its Facility that results from actual or suspected intentional human action. | Vandalism | 0 | 0
April | 04/14/2023 | 5:30 | Unknown | Unknown | Florida: Orange County; | SERC | Cyber event that could potentially impact electric power system adequacy or reliability | Cyber Event | 0 | 0
April | 04/15/2023 | 16:30 | 04/15/2023 | 17:18 | Texas: Kentucky: New Mexico: Washington: Oregon: Arizona: California: Nebraska: Pennsylvania: Ohio: | TRE | Unplanned evacuation from its Bulk Electric System control center facility for 30 continuous minutes or more. | System Operations | 0 | 0
April | 04/16/2023 | 7:17 | 04/16/2023 | 14:00 | Texas: Louisiana: Arkansas: Mississippi: | TRE | Damage or destruction of its Facility that results from actual or suspected intentional human action. | Suspicious Activity | Unknown | 3900
April | 04/17/2023 | 5:30 | 04/17/2023 | 14:00 | Florida: Alachua County; | SERC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | Suspicious Activity | 0 | 0
April | 04/17/2023 | 12:17 | 04/17/2023 | 17:12 | South Carolina: Aiken County; | SERC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | Actual Physical Attack/Vandalism | 39 | 8
April | 04/18/2023 | 8:00 | 04/18/2023 | 8:01 | Texas: Travis County; | TRE | Damage or destruction of its Facility that results from actual or suspected intentional human action. | Actual Physical Attack/Vandalism | 0 | 0
April | 04/18/2023 | 3:41 | 04/18/2023 | 4:00 | Washington: King County; | WECC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | Vandalism | 0 | 0
April | 04/18/2023 | 10:36 | 04/19/2023 | 11:08 | South Dakota: Stanley County; | MRO | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing). | System Operations | 4 | 1
April | 04/19/2023 | 15:15 | 04/19/2023 | 15:59 | Washington: Snohomish County; | WECC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | Vandalism | 0 | 0
April | 04/19/2023 | 23:13 | 04/20/2023 | 17:24 | Texas: Calhoun County; | TRE | Electrical System Separation (Islanding) where part or parts of a power grid remain(s) operational in an otherwise blacked out area or within the partial failure of an integrated electrical system | Transmission Interruption | Unknown | Unknown
April | 04/21/2023 | 6:02 | Unknown | Unknown | California: | WECC | Fuel supply emergencies that could impact electric power system adequacy or reliability | System Operations | 0 | 0
April | 04/23/2023 | 9:22 | 04/24/2023 | 17:49 | Washington: Mason County; | WECC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | System Operations | 25 | Unknown
April | 04/25/2023 | 10:33 | 04/25/2023 | 15:43 | Arizona: Maricopa County; | WECC | Physical attack that could potentially impact electric power system adequacy or reliability; or vandalism which targets components of any security systems | System Operations | 0 | 0
April | 04/26/2023 | 12:31 | 04/26/2023 | 14:15 | Idaho: Bonner County; | WECC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | Vandalism | 0 | 0
April | 04/27/2023 | 11:00 | 04/27/2023 | 11:14 | Texas: Blanco County; | TRE | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | Vandalism | 0 | 0
April | 04/27/2023 | 4:01 | 04/28/2023 | 12:28 | California: Stanislaus County; | WECC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | Vandalism | 0 | 0
April | 04/29/2023 | 0:00 | 04/29/2023 | 20:00 | Texas: Hidalgo County, Cameron County, Willacy County, Starr County; | TRE | Loss of electric service to more than 50,000 customers for 1 hour or more | Severe Weather | Unknown | 168419
May | 2023-05-01 | 5:16 | 2023-05-01 | 9:31 | Connecticut: Massachusetts: Rhode Island: Maine: New Hampshire: Vermont: | NPCC | Loss of electric service to more than 50,000 customers for 1 hour or more | Severe Weather | Unknown | 54000
May | 2023-05-02 | 10:00 | 2023-05-02 | 10:01 | Texas: | TRE | Damage or destruction of its Facility that results from actual or suspected intentional human action. | Actual Physical Attack/Vandalism | 0 | 0
May | 2023-05-02 | 11:29 | 2023-05-02 | 15:36 | Ohio: Kentucky: | RF/SERC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | Suspicious Activity | 0 | 0
May | 2023-05-04 | 18:00 | 2023-05-04 | 18:01 | Texas: San Patricio County; | TRE | Damage or destruction of its Facility that results from actual or suspected intentional human action. | Vandalism | 0 | 0
May | 2023-05-11 | 0:15 | 2023-05-18 | 9:27 | Michigan: Eaton County; | RF | Physical attack that could potentially impact electric power system adequacy or reliability; or vandalism which targets components of any security systems | Suspicious Activity | Unknown | 378
May | 2023-05-11 | 12:00 | 2023-05-11 | 12:01 | Texas: Tarrant County; | TRE | Damage or destruction of its Facility that results from actual or suspected intentional human action. | Vandalism | 0 | 0
May | 2023-05-12 | 13:00 | 2023-05-12 | 23:00 | Kentucky: Jefferson County; | SERC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | Vandalism | 0 | 0
May | 2023-05-12 | 11:43 | 2023-05-12 | 12:00 | New York: Broome County; | NPCC | Physical threat to its Bulk Electric System control center, excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the control center. Or suspicious device or activity at its Bulk Electric System control center. | Suspicious Activity | 0 | 0
May | 2023-05-13 | 7:25 | 2023-05-13 | 12:10 | North Dakota: Williams County; | MRO | Physical attack that could potentially impact electric power system adequacy or reliability; or vandalism which targets components of any security systems | Actual Physical Attack/Vandalism | 8 | 327
May | 2023-05-13 | 6:27 | 2023-05-13 | 15:27 | North Dakota: Williams County; | MRO | Damage or destruction of its Facility that results from actual or suspected intentional human action. | Actual Physical Attack/Vandalism | 64 | 2
May | 2023-05-13 | 5:27 | Unknown | Unknown | North Dakota: Williams County; | MRO | Damage or destruction of its Facility that results from actual or suspected intentional human action. | Actual Physical Attack/Vandalism | 166 | 327
May | 2023-05-16 | 14:45 | 2023-05-16 | 15:10 | Oregon: Multnomah County; | WECC | Physical attack that could potentially impact electric power system adequacy or reliability; or vandalism which targets components of any security systems | Suspicious Activity | 0 | 0
May | 2023-05-21 | 15:30 | 2023-05-21 | 15:40 | Washington: Whatcom County; | WECC | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | Suspicious Activity | 0 | 0
May | 2023-05-22 | 15:39 | 2023-05-22 | 18:00 | Florida: Putnam County; | SERC | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing). | Severe Weather | 0 | 0
May | 2023-05-23 | 14:00 | Unknown | Unknown | North Dakota: | MRO | Damage or destruction of its Facility that results from actual or suspected intentional human action. | Vandalism | 0 | 0
May | 2023-05-24 | 7:45 | 2023-05-24 | 18:52 | North Dakota: | MRO | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing). | Transmission Interruption | 0 | 0
May | 2023-05-24 | 9:16 | Unknown | Unknown | Iowa: Minnesota: | MRO | Complete operational failure or shut down of the transmission and/or distribution electrical system | System Operations | 2200 | Unknown
May | 2023-05-26 | 7:41 | 2023-05-26 | 14:19 | Georgia: Gwinnett County; | SERC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | Vandalism | 0 | 0
May | 2023-05-28 | 9:15 | 2023-05-28 | 9:16 | Alabama: Tuscaloosa County; | SERC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | Actual Physical Attack/Vandalism | 0 | 0
May | 2023-05-30 | 8:00 | 2023-05-30 | 8:01 | Massachusetts: Hampden County[13]; | NPCC | Physical threat to its Bulk Electric System control center, excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the control center. Or suspicious device or activity at its Bulk Electric System control center. | Actual Physical Attack/Vandalism | 0 | 0
May | 2023-05-31 | 11:00 | 2023-05-31 | 23:48 | Florida: Alachua County; | SERC | Complete loss of Interpersonal Communication and Alternative Interpersonal Communication capability affecting its staffed Bulk Electric System control center for 30 continuous minutes or more. | System Operations | 0 | 0
June | 2023-06-25 | 6:45 | Unknown | Unknown | Tennessee | SERC | Loss of electric service to more than 50,000 customers for 1 hour or more | - Weather or natural disaster | Unknown | 120000
June | 2023-06-24 | 18:17 | 2023-06-24 | 23:25 | Michigan | RF | - 10. Suspected Physical Attack | - Vandalism - Theft | 5 | 5200
June | 2023-06-25 | 17:30 | 2023-06-26 | 15:31 | Georgia, Alabama | SERC | Loss of electric service to more than 50,000 customers for 1 hour or more | - Weather or natural disaster | Unknown | Unknown
June | 2023-06-25 | 4:00 | Unknown | Unknown | Wisconsin, Michigan | MRO/RF | Loss of electric service to more than 50,000 customers for 1 hour or more | - Weather or natural disaster | 175 | 70000
June | 2023-06-25 | 19:00 | Unknown | Unknown | Michigan | RF | Loss of electric service to more than 50,000 customers for 1 hour or more. | - Weather or natural disaster | Unknown | Unknown
June | 2023-06-27 | 13:43 | 2023-06-27 | 13:44 | California | WECC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Vandalism | 0 | 0
June | 2023-06-25 | 19:30 | 2023-06-26 | 17:45 | Arkansas, Mississippi | SERC | Loss of electric service to more than 50,000 customers for 1 hour or more | - Weather or natural disaster | Unknown | 64732
June | 2023-06-27 | 17:37 | 2023-06-27 | 21:30 | Washington, Idaho, Montana | WECC | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing). | - Failure at high voltage substation or switchyard | 0 | 0
June | 2023-06-29 | 15:42 | Unknown | Unknown | Indiana | RF | Loss of electric service to more than 50,000 customers for 1 hour or more. | - Weather or natural disaster | Unknown | 140000
June | 2023-06-28 | 11:01 | 2023-06-28 | 11:03 | Georgia | SERC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Vandalism - Theft | 0 | 0
June | 2023-06-22 | 2:30 | 2023-06-22 | 2:38 | Louisiana | SERC | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing). | - Transmission equipment failure | 17 | 6242
June | 2023-06-20 | 17:48 | 2023-06-20 | 20:52 | Louisiana | SERC | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing). | - Transmission equipment failure | 0 | 0
June | 2023-06-30 | 12:13 | Unknown | Unknown | Connecticut | NPCC | Complete loss of monitoring or control capability at its staffed Bulk Electric System control center for 30 continuous minutes or more. | - Unknown | 0 | 0
July | 2023-07-01 | 14:58 | 2023-07-01 | 17:07 | Illinois: | SERC/RF | Complete loss of monitoring or control capability at its staffed Bulk Electric System control center for 30 continuous minutes or more. | - Other | 0 | 0
July | 2023-07-06 | 9:02 | 2023-07-06 | 10:49 | Texas: El Paso County; | TRE | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing). | - Failure at high voltage substation or switchyard - Other | Unknown | Unknown
July | 2023-07-06 | 13:38 | 2023-07-06 | 15:04 | Nebraska: Sarpy County; | MRO | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | - Suspicious activity | 0 | 0
July | 2023-07-06 | 19:01 | 2023-07-06 | 21:11 | Florida: Hillsborough County; | SERC | Complete loss of monitoring or control capability at its staffed Bulk Electric System control center for 30 continuous minutes or more. | - Other | 0 | 0
July | 2023-07-07 | 7:00 | 2023-07-07 | 8:00 | California: San Diego County; | WECC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Vandalism | 0 | 0
July | 2023-07-07 | 17:43 | 2023-07-11 | 13:27 | Texas: Randall County; New Mexico: | TRE | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing). | - Weather or natural disaster | 0 | 0
July | 2023-07-09 | 1:28 | 2023-07-12 | 22:30 | Oregon: Lane County; | WECC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Vandalism - Theft | 0 | 0
July | 2023-07-09 | 1:28 | Unknown | Unknown | Oregon: Lane County; | WECC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Vandalism - Theft | 0 | 0
July | 2023-07-10 | 3:32 | 2023-07-10 | 17:46 | Texas: El Paso County; | TRE | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing). | - Transmission equipment failure | 0 | 0
July | 2023-07-14 | 15:00 | Unknown | Unknown | Missouri: Kansas: | SERC | Loss of electric service to more than 50,000 customers for 1 hour or more. | - Weather or natural disaster | Unknown | 163156
July | 2023-07-16 | 10:29 | 2023-07-16 | 10:56 | California: Sacramento County; | WECC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Vandalism | 0 | 0
July | 2023-07-17 | 9:46 | 2023-07-17 | 11:00 | New York: Broome County; | NPCC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Vandalism | 0 | 642
July | 2023-07-18 | 17:50 | 2023-07-25 | 14:00 | Tennessee: Shelby County; | SERC | Uncontrolled loss of 300 Megawatts or more of firm system loads for 15 minutes or more from a single incident. | - Weather or natural disaster | 1200 | 216000
July | 2023-07-18 | 13:30 | 2023-07-18 | 14:30 | Missouri: | SERC | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | - Suspicious activity | 0 | 0
July | 2023-07-20 | 10:05 | 2023-07-20 | 10:06 | Georgia: DeKalb County; | SERC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Vandalism | 0 | 0
July | 2023-07-20 | 15:30 | 2023-07-21 | 12:00 | Michigan: | RF | Loss of electric service to more than 50,000 customers for 1 hour or more. | - Weather or natural disaster | Unknown | 90354
July | 2023-07-20 | 16:30 | 2023-07-22 | 12:17 | Georgia: | SERC | Loss of electric service to more than 50,000 customers for 1 hour or more. | - Weather or natural disaster | 640 | 35257
July | 2023-07-22 | 14:52 | 2023-07-22 | 14:53 | Mississippi: Washington County, Sharkey County, Sunflower County; | SERC | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing). | - Other | 130 | 32781
July | 2023-07-25 | 18:52 | 2023-07-25 | 19:00 | Tennessee: Shelby County; | SERC | Uncontrolled loss of 300 Megawatts or more of firm system loads for 15 minutes or more from a single incident. | - Unknown - Failure at high voltage substation or switchyard | 820 | Unknown
July | 2023-07-26 | 14:51 | 2023-07-26 | 17:23 | Michigan: Oakland County, Wayne County, Macomb County, Washtenaw County, Livingston County; | RF | Loss of electric service to more than 50,000 customers for 1 hour or more. | - Weather or natural disaster | Unknown | 246000
July | 2023-07-26 | 13:31 | 2023-07-26 | 14:00 | Idaho: Kootenai County; | WECC | Physical attack that could potentially impact electric power system adequacy or reliability; or vandalism which targets components of any security systems. | - Physical attack - Vandalism - Suspicious activity | 0 | 0
July | 2023-07-28 | 0:15 | 2023-07-28 | 5:06 | Nebraska: Scotts Bluff County; | SERC | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing). | - Failure at high voltage substation or switchyard - Weather or natural disaster | 0 | 0
July | 2023-07-28 | 12:16 | 2023-07-28 | 12:17 | Washington: King County; | WECC | Physical attack that could potentially impact electric power system adequacy or reliability; or vandalism which targets components of any security systems. | - Physical attack - Vandalism - Other | 0 | 0
July | 2023-07-28 | 22:58 | 2023-07-29 | Unknown | Wisconsin: Jefferson County, Waukesha County, Milwaukee County, Sheboygan County, Washington County, Ozaukee County, Walworth County, Kenosha County, Racine County; Michigan: | MRO/RF | Loss of electric service to more than 50,000 customers for 1 hour or more. | - Weather or natural disaster | 213 | 85000
July | 2023-07-28 | 21:00 | 2023-07-30 | 10:00 | Illinois: Winnebago County, Cook County, Will County, DeKalb County, Kendall County; | MRO/RF | Loss of electric service to more than 50,000 customers for 1 hour or more. | - Weather or natural disaster | Unknown | 122921
July | 2023-07-28 | 18:00 | 2023-07-30 | 7:45 | West Virginia: Virginia: | RF | Loss of electric service to more than 50,000 customers for 1 hour or more. | - Weather or natural disaster | Unknown | 52098
July | 2023-07-28 | 21:00 | Unknown | Unknown | Maryland: Harford County; | RF | Loss of electric service to more than 50,000 customers for 1 hour or more. | - Weather or natural disaster | Unknown | 61000
July | 2023-07-28 | 12:16 | 2023-07-28 | 12:17 | Washington: Skagit County; | WECC | Physical attack that could potentially impact electric power system adequacy or reliability; or vandalism which targets components of any security systems. | - Physical attack - Vandalism | 0 | 0
July | 2023-07-29 | 16:00 | 2023-08-01 | 7:00 | Maryland: | RF | Loss of electric service to more than 50,000 customers for 1 hour or more. | - Weather or natural disaster | Unknown | 53630
July | 2023-07-29 | 16:25 | 2023-07-29 | 16:28 | Maryland: Montgomery County; | RF | Loss of electric service to more than 50,000 customers for 1 hour or more. | - Weather or natural disaster | Unknown | 54158
July | 2023-07-29 | 16:00 | 2023-07-29 | 16:01 | Massachusetts: Franklin County[13]; | NPCC | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. Physical threat to its Bulk Electric System control center, excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the control center. Or suspicious device or activity at its Bulk Electric System control center. | - Threat of physical attack | 0 | 0
July | 2023-07-30 | 20:30 | Unknown | Unknown | Missouri: Kansas: | SERC,MRO | Loss of electric service to more than 50,000 customers for 1 hour or more. | - Weather or natural disaster | Unknown | 72173
August |  | 14:58 | 2023-07-01 | 17:07 | Illinois: | SERC/RF | Complete loss of monitoring or control capability at its staffed Bulk Electric System control center for 30 continuous minutes or more. | - Other | 0 | 0
August |  | 9:02 | 2023-07-06 | 10:49 | Texas: El Paso County; | TRE | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing). | - Failure at high voltage substation or switchyard - Other | Unknown | Unknown
August |  | 13:38 | 2023-07-06 | 15:04 | Nebraska: Sarpy County; | MRO | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | - Suspicious activity | 0 | 0
August |  | 19:01 | 2023-07-06 | 21:11 | Florida: Hillsborough County; | SERC | Complete loss of monitoring or control capability at its staffed Bulk Electric System control center for 30 continuous minutes or more. | - Other | 0 | 0
August |  | 7:00 | 2023-07-07 | 8:00 | California: San Diego County; | WECC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Vandalism | 0 | 0
August |  | 17:43 | 2023-07-11 | 13:27 | Texas: Randall County; New Mexico: | TRE | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing). | - Weather or natural disaster | 0 | 0
August |  | 1:28 | 2023-07-12 | 22:30 | Oregon: Lane County; | WECC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Vandalism - Theft | 0 | 0
August |  | 1:28 | Unknown | Unknown | Oregon: Lane County; | WECC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Vandalism - Theft | 0 | 0
August |  | 3:32 | 2023-07-10 | 17:46 | Texas: El Paso County; | TRE | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing). | - Transmission equipment failure | 0 | 0
August |  | 15:00 | Unknown | Unknown | Missouri: Kansas: | SERC | Loss of electric service to more than 50,000 customers for 1 hour or more. | - Weather or natural disaster | Unknown | 163156
August |  | 10:29 | 2023-07-16 | 10:56 | California: Sacramento County; | WECC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Vandalism | 0 | 0
August |  | 9:46 | 2023-07-17 | 11:00 | New York: Broome County; | NPCC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Vandalism | 0 | 642
August |  | 17:50 | 2023-07-25 | 14:00 | Tennessee: Shelby County; | SERC | Uncontrolled loss of 300 Megawatts or more of firm system loads for 15 minutes or more from a single incident. | - Weather or natural disaster | 1200 | 216000
August |  | 13:30 | 2023-07-18 | 14:30 | Missouri: | SERC | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | - Suspicious activity | 0 | 0
August |  | 10:05 | 2023-07-20 | 10:06 | Georgia: DeKalb County; | SERC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Vandalism | 0 | 0
August |  | 15:30 | 2023-07-21 | 12:00 | Michigan: | RF | Loss of electric service to more than 50,000 customers for 1 hour or more. | - Weather or natural disaster | Unknown | 90354
August |  | 16:30 | 2023-07-22 | 12:17 | Georgia: | SERC | Loss of electric service to more than 50,000 customers for 1 hour or more. | - Weather or natural disaster | 640 | 35257
August |  | 14:52 | 2023-07-22 | 14:53 | Mississippi: Washington County, Sharkey County, Sunflower County; | SERC | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing). | - Other | 130 | 32781
August |  | 18:52 | 2023-07-25 | 19:00 | Tennessee: Shelby County; | SERC | Uncontrolled loss of 300 Megawatts or more of firm system loads for 15 minutes or more from a single incident. | - Unknown - Failure at high voltage substation or switchyard | 820 | Unknown
August |  | 14:51 | 2023-07-26 | 17:23 | Michigan: Oakland County, Wayne County, Macomb County, Washtenaw County, Livingston County; | RF | Loss of electric service to more than 50,000 customers for 1 hour or more. | - Weather or natural disaster | Unknown | 246000
August |  | 13:31 | 2023-07-26 | 14:00 | Idaho: Kootenai County; | WECC | Physical attack that could potentially impact electric power system adequacy or reliability; or vandalism which targets components of any security systems. | - Physical attack - Vandalism - Suspicious activity | 0 | 0
August |  | 0:15 | 2023-07-28 | 5:06 | Nebraska: Scotts Bluff County; | SERC | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing). | - Failure at high voltage substation or switchyard - Weather or natural disaster | 0 | 0
August |  | 12:16 | 2023-07-28 | 12:17 | Washington: King County; | WECC | Physical attack that could potentially impact electric power system adequacy or reliability; or vandalism which targets components of any security systems. | - Physical attack - Vandalism - Other | 0 | 0
August |  | 22:58 | 2023-07-29 | Unknown | Wisconsin: Jefferson County, Waukesha County, Milwaukee County, Sheboygan County, Washington County, Ozaukee County, Walworth County, Kenosha County, Racine County; Michigan: | MRO/RF | Loss of electric service to more than 50,000 customers for 1 hour or more. | - Weather or natural disaster | 213 | 85000
August |  | 21:00 | 2023-07-30 | 10:00 | Illinois: Winnebago County, Cook County, Will County, DeKalb County, Kendall County; | MRO/RF | Loss of electric service to more than 50,000 customers for 1 hour or more. | - Weather or natural disaster | Unknown | 122921
August |  | 18:00 | 2023-07-30 | 7:45 | West Virginia: Virginia: | RF | Loss of electric service to more than 50,000 customers for 1 hour or more. | - Weather or natural disaster | Unknown | 52098
August |  | 21:00 | Unknown | Unknown | Maryland: Harford County; | RF | Loss of electric service to more than 50,000 customers for 1 hour or more. | - Weather or natural disaster | Unknown | 61000
August |  | 12:16 | 2023-07-28 | 12:17 | Washington: Skagit County; | WECC | Physical attack that could potentially impact electric power system adequacy or reliability; or vandalism which targets components of any security systems. | - Physical attack - Vandalism | 0 | 0
August |  | 16:00 | 2023-08-01 | 7:00 | Maryland: | RF | Loss of electric service to more than 50,000 customers for 1 hour or more. | - Weather or natural disaster | Unknown | 53630
August |  | 16:25 | 2023-07-29 | 16:28 | Maryland: Montgomery County; | RF | Loss of electric service to more than 50,000 customers for 1 hour or more. | - Weather or natural disaster | Unknown | 54158
August |  | 16:00 | 2023-07-29 | 16:01 | Massachusetts: Franklin County[13]; | NPCC | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. Physical threat to its Bulk Electric System control center, excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the control center. Or suspicious device or activity at its Bulk Electric System control center. | - Threat of physical attack | 0 | 0
August |  | 20:30 | Unknown | Unknown | Missouri: Kansas: | SERC,MRO | Loss of electric service to more than 50,000 customers for 1 hour or more. | - Weather or natural disaster | Unknown | 72173
September | 2023-09-29 | 22:16 | 09/29/2023 | 22:18 | California: Butte County; | WECC | Electrical System Separation (Islanding) where part or parts of a power grid remain(s) operational in an otherwise blacked out area or within the partial failure of an integrated electrical system | - Weather or natural disaster | 18 | 9082
September | 09/29/2023 | 23:49 | 09/30/2023 | 3:10 | Texas: New Mexico: Lea County; | TRE,WECC | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing). | - Weather or natural disaster | 0 | 0
September | 09/29/2023 | 11:31 | 09/29/2023 | 12:07 | Pennsylvania: | RF | Complete loss of monitoring or control capability at its staffed Bulk Electric System control center for 30 continuous minutes or more. | - Other | 0 | 0
September | 09/28/2023 | 13:06 | 09/28/2023 | 16:30 | Massachusetts: Rhode Island: | NPCC | Complete loss of monitoring or control capability at its staffed Bulk Electric System control center for 30 continuous minutes or more. | - Other | 0 | 0
September | 09/25/2023 | 5:12 | 09/25/2023 | 6:41 | Louisiana: East Baton Rouge Parish; | SERC | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing). | - Transmission equipment failure | 103 | 23380
September | 09/29/2023 | 6:30 | 09/29/2023 | 7:01 | Pennsylvania: | RF | Complete loss of monitoring or control capability at its staffed Bulk Electric System control center for 30 continuous minutes or more. | - Other | 0 | 0
September | 09/28/2023 | 13:06 | 09/28/2023 | 16:30 | Massachusetts: Rhode Island: | NPCC | Complete loss of monitoring or control capability at its staffed Bulk Electric System control center for 30 continuous minutes or more. | - Other | 0 | 0
September | 09/24/2023 | 23:44 | 09/26/2023 | 20:45 | Texas: Dallas County, Tarrant County, McLennan County, Angelina County, Bell County, Williamson County, Smith County; | TRE | Loss of electric service to more than 50,000 customers for 1 hour or more | - Weather or natural disaster | Unknown | 130000
September | 09/18/2023 | 8:53 | 09/18/2023 | 10:26 | Texas: Cameron County; | TRE | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | - Suspicious activity | 0 | 0
September | 09/20/2023 | 12:41 | 09/20/2023 | 23:25 | Oklahoma: | MRO | Damage or destruction of a Facility within its Reliability Coordinator Area, Balancing Authority Area or Transmission Operator Area that results in action(s) to avoid a Bulk Electric System Emergency | - Unknown | 51 | Unknown
September | 09/16/2023 | 0:59 | 09/16/2023 | 9:59 | New York: Suffolk County; | NPCC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Vandalism | 0 | 0
September | 09/15/2023 | 16:30 | 09/15/2023 | 17:00 | Illinois: Grundy County; | SERC | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | - Suspicious activity | 0 | 0
September | 09/16/2023 | 10:35 | 09/17/2023 | 1:00 | Connecticut: Massachusetts: Maine: Rhode Island: Vermont: New Hampshire: | NPCC | Loss of electric service to more than 50,000 customers for 1 hour or more | - Weather or natural disaster | Unknown | 75000
September | 09/13/2023 | 9:15 | 09/13/2023 | 18:16 | Texas: Hidalgo County; | TRE | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Physical attack | 0 | 0
September | 09/08/2023 | 23:44 | 09/10/2023 | 19:00 | Texas: Tarrant County, Dallas County; | TRE | Loss of electric service to more than 50,000 customers for 1 hour or more | - Weather or natural disaster | Unknown | 190000
September | 09/08/2023 | 6:30 | 09/08/2023 | 9:00 | Washington: King County; | WECC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Vandalism | 0 | 0
September | 09/08/2023 | 18:06 | 09/08/2023 | 18:51 | Massachusetts: Essex County[13]; | NPCC | Unplanned evacuation from its Bulk Electric System control center facility for 30 continuous minutes or more. | - Other | 0 | 0
September | 09/08/2023 | 15:15 | 09/09/2023 | 22:05 | Connecticut: Massachusetts: Maine: Rhode Island: Vermont: New Hampshire: | NPCC | Loss of electric service to more than 50,000 customers for 1 hour or more | - Weather or natural disaster | Unknown | 114000
September | 09/09/2023 | 10:31 | 09/09/2023 | 10:51 | New York: Queens County; | NPCC | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | - Suspicious activity | 0 | 0
September | 09/07/2023 | 13:00 | 09/07/2023 | 13:15 | Texas: Fayette County; | TRE | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | - Suspicious activity | 0 | 0
September | 09/08/2023 | 6:30 | 09/08/2023 | 9:00 | Washington: King County; | WECC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Vandalism | 0 | 0
September | 09/07/2023 | 10:45 | 09/07/2023 | 21:00 | Texas: | TRE | Public appeal to reduce the use of electricity for purposes of maintaining the continuity of the Bulk Electric System | - Weather or natural disaster - Other | Unknown | Unknown
September | 09/06/2023 | 16:30 | 09/06/2023 | 21:00 | Texas: | TRE | Public appeal to reduce the use of electricity for purposes of maintaining the continuity of the Bulk Electric System | - Weather or natural disaster - Other | Unknown | Unknown
September | 09/06/2023 | 0:00 | Unknown | Unknown | Michigan: Gratiot County; | RF | Damage or destruction of its Facility that results from actual or suspected intentional human action. | Weather or natural disaster - Other | Unknown | 0
September | 09/05/2023 | 1:38 | 09/05/2023 | 5:39 | Maine: Kennebec County; | NPCC | Complete loss of monitoring or control capability at its staffed Bulk Electric System control center for 30 continuous minutes or more. | - Other | 0 | 0
October | 10/03/2023 | 0:55 | 10/03/2023 | 1:13 | Missouri: St. Louis County; | SERC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Vandalism - Theft - Suspicious activity | Unknown | Unknown
October | 10/03/2023 | 16:00 | 10/03/2023 | 18:50 | North Carolina: South Carolina: | SERC | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | - Suspicious activity | Unknown | Unknown
October | 10/03/2023 | 23:44 | 10/04/2023 | 0:21 | Pennsylvania: | RF | Complete loss of monitoring or control capability at its staffed Bulk Electric System control center for 30 continuous minutes or more. | - Unknown | 0 | 0
October | 10/04/2023 | 22:01 | 10/06/2023 | 4:15 | Texas: | RE | Loss of electric service to more than 50,000 customers for 1 hour or more | - Weather or natural disaster | Unknown | 153000
October | 10/05/2023 | 18:38 | 10/05/2023 | 19:02 | Texas: New Mexico: Lea County, Eddy County; | RE,WECC | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing). | - Other | 0 | 0
October | 10/06/2023 | 2:42 | 10/06/2023 | 3:13 | Texas: Cameron County; | RE | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | - Suspicious activity | 0 | 0
October | 10/07/2023 | 8:04 | 10/08/2023 | 2:32 | New Jersey: | RF | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Vandalism - Suspicious activity | 0 | 0
October | 10/07/2023 | 14:04 | Unknown | Unknown | California: Contra Costa County; | WECC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Vandalism - Theft | 0 | 0
October | 10/07/2023 | 8:49 | 10/08/2023 | 2:32 | New Jersey: Essex County; | RF | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Suspicious activity | Unknown | Unknown
October | 10/12/2023 | 14:37 | 10/12/2023 | 15:37 | Pennsylvania: Armstrong County; | RF | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | - Suspicious activity | Unknown | Unknown
October | 10/12/2023 | 12:18 | 10/12/2023 | 12:19 | Texas: Travis County; | RE | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Physical attack - Other | 0 | 0
October | 10/12/2023 | 14:37 | 10/12/2023 | 15:37 | Pennsylvania: Armstrong County; | RF | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | - Suspicious activity | Unknown | Unknown
October | 10/14/2023 | 7:10 | Unknown | Unknown | California: Alameda County; | WECC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Unknown - Vandalism | Unknown | Unknown
October | 10/14/2023 | 12:47 | 10/16/2023 | 9:43 | North Dakota: Mountrail County, Williams County; | MRO | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Vandalism - Theft | 0 | 0
October | 10/15/2023 | 7:16 | 10/15/2023 | 12:52 | California: Sacramento County; | WECC | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing). | - Other | 72 | 6
October | 10/18/2023 | 10:38 | 10/19/2023 | 18:00 | Florida: Hillsborough County; | SERC | Unplanned evacuation from its Bulk Electric System control center facility for 30 continuous minutes or more. | - Unknown | 0 | 0
October | 10/19/2023 | 10:30 | 10/19/2023 | 10:52 | Texas: Lamb County; New Mexico: | RE | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing). | - Other | 0 | 0
October | 10/19/2023 | 11:10 | Unknown | Unknown | Minnesota: Goodhue County; | MRO | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing). | - Unknown | 0 | 0
October | 10/19/2023 | 9:40 | 10/19/2023 | 9:45 | Pennsylvania: Greene County; | RF | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | - Suspicious activity | 0 | 0
October | 10/21/2023 | 8:04 | 10/21/2023 | 8:05 | California: San Joaquin County; | RE | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Vandalism | 0 | 0
October | 10/22/2023 | 2:10 | 10/23/2023 | 17:00 | Texas: Jasper County; | WECC | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | - Physical attack - Vandalism - Theft - Suspicious activity | 0 | 0
October | 10/25/2023 | 23:39 | 10/29/2023 | 19:11 | Oklahoma: Texas County; | RE | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Physical attack - Generator loss or failure | 0 | 0
October | 10/26/2023 | 11:21 | 10/26/2023 | 11:22 | Texas: Orange County; | MRO | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing). | - Transmission equipment failure | Unknown | 26
October | 10/26/2023 | 10:05 | 10/26/2023 | 10:20 | Illinois: Cook County; | RE | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | - Suspicious activity | 0 | 0
October | 10/26/2023 | 12:41 | 10/26/2023 | 14:01 | Oregon: Jefferson County; | SERC | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing). | - Other | 140 | 0
October | 10/26/2023 | 10:05 | 10/26/2023 | 10:20 | Illinois: Cook County; | WECC | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | - Suspicious activity | 0 | 0
October | 10/29/2023 | 4:00 | 10/30/2023 | 16:00 | Nevada: | WECC | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | - Suspicious activity | 0 | 0
November | 2023-11-01 | 14:37 | Unknown | Unknown | Texas: Cameron County; | RE | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Physical attack | 0 | 0
November | 11/02/2023 | 20:00 | 11/02/2023 | 20:06 | South Carolina: Oconee County; | SERC | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | - Suspicious activity | 0 | 0
November | 11/02/2023 | 11:10 | 11/02/2023 | 11:20 | Oregon: Washington: Idaho: Bannock County; Utah: Wyoming: | WECC | Physical attack that could potentially impact electric power system adequacy or reliability; or vandalism which targets components of any security systems | - Theft | 0 | 0
November | 11/06/2023 | 16:00 | 11/06/2023 | 17:00 | Arkansas: | WECC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Vandalism - Suspicious activity | 0 | 0
November | 11/09/2023 | 13:35 | 2023-11-09 | 14:35 | Oklahoma: Louisiana: Texas: | MRO/SERC/RE | Unplanned evacuation from its Bulk Electric System control center facility for 30 continuous minutes or more. | - Other | 0 | 0
November | 11/09/2023 | 3:00 | 11/09/2023 | 3:15 | California: Fresno County; | WECC | Physical attack that could potentially impact electric power system adequacy or reliability; or vandalism which targets components of any security systems | - Vandalism - Theft | 0 | 0
November | 11/10/2023 | 18:10 | 11/10/2023 | 19:58 | Maryland: Baltimore County; | RF | Physical attack that could potentially impact electric power system adequacy or reliability; or vandalism which targets components of any security systems | - Suspicious activity | 0 | 0
November | 11/10/2023 | 18:10 | 11/10/2023 | 19:58 | Pennsylvania: Montgomery County; | RF | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | - Suspicious activity | 0 | 0
November | 11/10/2023 | 8:00 | 11/10/2023 | 8:01 | Nevada: | WECC | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | - Vandalism - Theft - Suspicious activity | 0 | 0
November | 11/11/2023 | 0:45 | 11/11/2023 | 1:11 | Utah: Salt Lake County; California: Oregon: | WECC | Physical attack that could potentially impact electric power system adequacy or reliability; or vandalism which targets components of any security systems | - Vandalism | 0 | 0
November | 11/12/2023 | 6:45 | 11/12/2023 | 8:59 | Washington: King County; | WECC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Other | 0 | 0
November | 11/13/2023 | 16:16 | 11/13/2023 | 16:36 | North Dakota: Burleigh County; | MRO | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing). | - Other | 0 | 0
November | 11/15/2023 | 20:00 | 11/16/2023 | 20:30 | California: Imperial County; | WECC | Fuel supply emergencies that could impact electric power system adequacy or reliability | - Fuel supply emergency | 0 | 0
November | 11/16/2023 | 3:18 | Unknown | Unknown | Florida: Miami-Dade County, Broward County; | SERC | Loss of electric service to more than 50,000 customers for 1 hour or more | - Weather or natural disaster | 0 | 0
November | 11/17/2023 | 1:43 | 11/17/2023 | 3:33 | California: Contra Costa County; | WECC | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | - Other | 0 | 0
November | 11/17/2023 | 16:30 | 2023-11-17 | 16:41 | Texas: Cameron County; | RE | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Unknown | 0 | 0
November | 11/17/2023 | 4:07 | 11/17/2023 | 4:21 | Colorado: Douglas County; | WECC | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing). | - Other | 0 | 0
November | 11/19/2023 | 4:39 | Unknown | Unknown | California: San Joaquin County; | WECC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Vandalism | 0 | 0
November | 11/19/2023 | 14:00 | 11/19/2023 | 14:10 | Illinois: Grundy County; | SERC | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | - Suspicious activity | 0 | 0
November | 11/19/2023 | 3:00 | 11/19/2023 | 3:30 | New Jersey: Gloucester County; | RF | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | - Theft | 0 | 0
November | 11/20/2023 | 0:00 | 2023-11-20 | 2:00 | Nevada: | WECC | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | - Theft - Suspicious activity | 0 | 0
November | 11/21/2023 | 9:29 | 11/21/2023 | 9:30 | California: San Joaquin County; | WECC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Theft | 0 | 0
November | 11/25/2023 | 10:20 | Unknown | Unknown | California: San Bernardino County; | WECC | Cyber event that is not a Reportable Cyber Security Incident that causes interruptions of electrical system operations. | - Unknown | 0 | 0
November | 11/26/2023 | 1:00 | 11/26/2023 | 2:00 | California: Sutter County; | WECC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Theft - Other | 0 | 0
November | 11/27/2023 | 6:00 | 11/27/2023 | 13:00 | Connecticut: Massachusetts: Maine: Rhode Island: Vermont: New Hampshire: | NPCC | Loss of electric service to more than 50,000 customers for 1 hour or more | - Weather or natural disaster | 0 | 0
November | 11/27/2023 | 11:53 | 11/27/2023 | 13:53 | Colorado: | WECC | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing). | - Other | 0 | 0
November | 11/29/2023 | 9:00 | Unknown | Unknown | Texas: Callahan County; | RE | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Physical attack - Vandalism - Suspicious activity | 0 | 0
December | 2023-12-01 | 10:28 | 2023-12-01 | 10:29 | Pacificorp | WECC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Vandalism - Theft | 0 | 0
December | 2023-12-02 | 10:07 | 2023-12-02 | 10:40 | Tampa Electric Company | SERC | Complete loss of monitoring or control capability at its staffed Bulk Electric System control center for 30 continuous minutes or more. | - Other | 0 | 0
December | 2023-12-03 | 4:27 | - Unknown | - Unknown | Pacific Gas & Electric Co | WECC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Vandalism - Theft | 0 | 0
December | 2023-12-03 | 4:27 | 2023-12-07 | 18:00 | Pacific Gas and Electric | WECC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Vandalism - Theft | 0 | 0
December | 2023-12-04 | 0:00 | - Unknown | - Unknown | Tucson Electric Power | WECC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Vandalism - Theft | 0 | 0
December | 2023-12-04 | 10:23 | 2023-12-04 | 13:46 | Seminole Electric Cooperative Inc | SERC | Cyber Security Incident that was an attempt to compromise a High or Medium Impact Bulk Electric System Cyber System or their associated Electronic Access Control or Monitoring Systems | - Cyber event (information technology) | 0 | 0
December | 2023-12-05 | 23:11 | 2023-12-06 | 0:12 | GenOn Energy – New Castle Power LLC | RF | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility | - Vandalism - Theft | 0 | 0
December | 2023-12-07 | 9:52 | 2023-12-07 | 9:53 | Orsted Americas | SERC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Vandalism - Suspicious activity | 0 | 0
December | 2023-12-07 | 10:29 | 2023-12-07 | 13:05 | New York State Electric & Gas | NPCC | Complete loss of monitoring or control capability at its staffed Bulk Electric System control center for 30 continuous minutes or more. | - Other | 0 | 0
December | 2023-12-09 | 11:08 | 2023-12-09 | 11:12 | WEC Energy Group (WEPCO, WPSC, UMERC, WEP-MIUP) | MRO/RF | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | - Suspicious activity | 0 | 0
December | 2023-12-11 | 0:00 | 2023-12-11 | 12:00 | Apex Generating Station | WECC | Physical threat to its Bulk Electric System control center, excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the control center. Or suspicious device or activity at its Bulk Electric System control center. | - Vandalism - Theft - Suspicious activity - Other | 0 | 0
December | 2023-12-11 | 14:04 | 2023-12-12 | 14:35 | Bonneville Power Administration | WECC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Vandalism | 0 | 0
December | 2023-12-11 | 14:04 | 2023-12-12 | 14:35 | Bonneville Power Administration | WECC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Vandalism | 0 | 0
December | 2023-12-12 | 12:20 | 2023-12-12 | 12:21 | Austin Energy | Texas RE | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Other | 0 | 0
December | 2023-12-12 | 9:30 | 2023-12-13 | 5:02 | Oncor Electric Delivery Company LLC | Texas RE | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Vandalism | 0 | 0
December | 2023-12-12 | 12:20 | 2023-12-12 | 1/0/1900 | Austin Energy | Texas RE | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Other | 0 | 0
December | 2023-12-14 | 10:45 | 2023-12-14 | 11:06 | Western Area Power Administration - Upper Great Plains Region - (NCR01036) | WECC | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing). | - Unknown | 20 | 1
December | 2023-12-14 | 23:54 | - Unknown | - Unknown | Consolidated Edison of New York, Inc. | MPCC | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing). | - Failure at high voltage substation or switchyard | 0 | 0
December | 2023-12-15 | 12:46 | 2023-12-15 | 16:00 | Consumers Energy Co | RF | Physical attack that could potentially impact electric power system adequacy or reliability; or vandalism which targets components of any security systems | - Physical attack - Vandalism - Suspicious activity | Unknown | Unknown
December | 2023-12-15 | 12:46 | 2023-12-15 | 16:00 | Consumers Energy Co | RF | Physical attack that could potentially impact electric power system adequacy or reliability; or vandalism which targets components of any security systems | - Physical attack - Vandalism - Suspicious activity | Unknown | Unknown
December | 2023-12-15 | 13:53 | 2023-12-15 | 14:17 | LUMA Energy | N/A | Firm load shedding of 100 Megawatts or more implemented under emergency operational policy | - Generator loss or failure | 120 | 126197
December | 2023-12-16 | 2:05 | 2023-12-16 | 2:29 | LUMA Energy | N/A | Uncontrolled loss of 300 Megawatts or more of firm system loads for 15 minutes or more from a single incident | - Generator loss or failure | Unknown | Unknown
December | 2023-12-16 | 2:05 | 2023-12-16 | 2:29 | LUMA Energy | N/A | Uncontrolled loss of 300 Megawatts or more of firm system loads for 15 minutes or more from a single incident | - Generator loss or failure | 220 | 230330
December | 2023-12-17 | 10:46 | 2023-12-17 | 10:57 | LUMA Energy | N/A | Firm load shedding of 100 Megawatts or more implemented under emergency operational policy | - Generator loss or failure | 126 | Unknown
December | 2023-12-17 | 10:46 | 2023-12-17 | 10:57 | LUMA Energy | N/A | Firm load shedding of 100 Megawatts or more implemented under emergency operational policy | - Generator loss or failure | 80 | 127585
December | 2023-12-18 | 13:11 | 2023-12-18 | 13:23 | LUMA Energy | N/A | Firm load shedding of 100 Megawatts or more implemented under emergency operational policy | - Generator loss or failure | 115 | 170316
December | 2023-12-18 | 5:45 | - Unknown | - Unknown | ISO New England | WECC | Loss of electric service to more than 50,000 customers for 1 hour or more | - Weather or natural disaster | Unknown | 730000
December | 2023-12-18 | 10:55 | 2023-12-18 | 11:41 | First Energy Solutions Corp. | RF | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing). | - Other | 0 | 0
December | 2023-12-19 | 0:41 | 2023-12-19 | 0:47 | LUMA Energy | N/A | Firm load shedding of 100 Megawatts or more implemented under emergency operational policy | - Generator loss or failure | 77 | 50204
December | 2023-12-22 | 13:55 | 2023-12-22 | 14:45 | NV Energy | WECC | Complete loss of monitoring or control capability at its staffed Bulk Electric System control center for 30 continuous minutes or more. | - Unknown | 0 | 0
December | 2023-12-23 | 0:43 | 2023-12-23 | 0:48 | LUMA Energy | N/A | Firm load shedding of 100 Megawatts or more implemented under emergency operational policy | - Generator loss or failure | 65 | 37850
December | 2023-12-24 | 2:07 | 2023-12-24 | 13:39 | Seminole Electric Cooperative Inc | SERC | Damage or destruction of its Facility that results from actual or suspected intentional human action. | - Vandalism | 0 | 0
December | 2023-12-25 | 19:56 | 2023-12-25 | 20:01 | LUMA Energy | N/A | Firm load shedding of 100 Megawatts or more implemented under emergency operational policy | - Generator loss or failure | 105 | 36100
December | 2023-12-25 | 8:35 | 2023-12-25 | 15:00 | Consolidated Edison of New York, Inc. | NPCC | Unplanned evacuation from its Bulk Electric System control center facility for 30 continuous minutes or more | - Other | 0 | 0
December | 2023-12-27 | 14:44 | 2023-12-28 | 4:14 | Otter Tail Power Co | MRO | Electrical System Separation (Islanding) where part or parts of a power grid remain(s) operational in an otherwise blacked out area or within the partial failure of an integrated electrical system | - Weather or natural disaster | 14 | 8000
December | 2023-12-27 | 11:11 | 2023-12-27 | 11:12 | Pacificorp | WECC | Physical attack that could potentially impact electric power system adequacy or reliability; or vandalism which targets components of any security systems | - Suspicious activity - Transmission equipment failure | 0 | 0
December | 2023-12-30 | 21:00 | 2023-12-30 | 22:15 | American Electric Power (Regulated Generation) | RF | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | - Suspicious activity | Unknown | Unknown
December | 2023-12-30 | 5:00 | 2023-12-30 | 6:48 | Lower Colorado River Authority | Texas RE | Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility. | - Suspicious activity | 0 | 0